## Sheet1
ID | - | CSTR | [19 empty] | influent | [19 empty] | effluent
variable | t [d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d]
0 | 0 | 2 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 4.0307e-05 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 4.0307e-05 | 18446.0003
1 | 0.1 | 2 | 6.2463 | 7.9074 | 7.9003 | 4.2941 | 2.2157 | 0.82112 | 30 | 56.9167 | 472.9621 | 78.9844 | 545.7992 | 63.5056 | 18.4819 | 0.22214 | 33.0397 | 0 | 0 | 747875.1112 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.2463 | 7.9074 | 7.9003 | 4.2941 | 2.2157 | 0.82112 | 30 | 56.9167 | 472.9621 | 78.9844 | 545.7992 | 63.5056 | 18.4819 | 0.22214 | 33.0397 | 0 | 0 | 747875.1112 | 18446.0003
2 | 0.2 | 2 | 2.1282 | 10.9502 | 3.7248 | 3.5189 | 5.9847 | 2.5518 | 30 | 57.8834 | 138.3733 | 86.5657 | 191.7847 | 16.265 | 4.6827 | 0.2038 | 8.7358 | 0 | 0 | 935586.7248 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.1282 | 10.9502 | 3.7248 | 3.5189 | 5.9847 | 2.5518 | 30 | 57.8834 | 138.3733 | 86.5657 | 191.7847 | 16.265 | 4.6827 | 0.2038 | 8.7358 | 0 | 0 | 935586.7248 | 18446.0003
3 | 0.3 | 2 | 0.83609 | 13.5321 | 1.2671 | 3.3935 | 12.1799 | 5.829 | 30 | 59.2935 | 53.8802 | 101.1414 | 91.681 | 4.2858 | 1.2009 | 0.1581 | 2.3209 | 0 | 0 | 982763.1972 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.83609 | 13.5321 | 1.2671 | 3.3935 | 12.1799 | 5.829 | 30 | 59.2935 | 53.8802 | 101.1414 | 91.681 | 4.2858 | 1.2009 | 0.1581 | 2.3209 | 0 | 0 | 982763.1972 | 18446.0003
4 | 0.4 | 2 | 0.34615 | 14.8019 | 0.34832 | 3.4232 | 17.7061 | 9.2416 | 30 | 59.869 | 32.3575 | 110.3116 | 59.4975 | 1.1329 | 0.30499 | 0.087384 | 0.61064 | 0 | 0 | 994712.7639 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.34615 | 14.8019 | 0.34832 | 3.4232 | 17.7061 | 9.2416 | 30 | 59.869 | 32.3575 | 110.3116 | 59.4975 | 1.1329 | 0.30499 | 0.087384 | 0.61064 | 0 | 0 | 994712.7639 | 18446.0003
5 | 0.5 | 2 | 0.13376 | 15.3287 | 0.084076 | 3.4593 | 20.9614 | 11.5259 | 30 | 60.0259 | 26.9455 | 114.7009 | 48.329 | 0.30043 | 0.077518 | 0.037528 | 0.16046 | 0 | 0 | 997695.0679 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.13376 | 15.3287 | 0.084076 | 3.4593 | 20.9614 | 11.5259 | 30 | 60.0259 | 26.9455 | 114.7009 | 48.329 | 0.30043 | 0.077518 | 0.037528 | 0.16046 | 0 | 0 | 997695.0679 | 18446.0003
6 | 0.6 | 2 | 0.045994 | 15.5272 | 0.020029 | 3.4791 | 22.5058 | 12.6744 | 30 | 60.0571 | 25.5832 | 116.5684 | 44.3256 | 0.079758 | 0.019824 | 0.013779 | 0.042136 | 0 | 0 | 998437.9262 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.045994 | 15.5272 | 0.020029 | 3.4791 | 22.5058 | 12.6744 | 30 | 60.0571 | 25.5832 | 116.5684 | 44.3256 | 0.079758 | 0.019824 | 0.013779 | 0.042136 | 0 | 0 | 998437.9262 | 18446.0003
7 | 0.7 | 2 | 0.014729 | 15.5968 | 0.0050271 | 3.4878 | 23.1519 | 13.1544 | 30 | 60.0619 | 25.241 | 117.3089 | 42.9012 | 0.021478 | 0.0051774 | 0.0046653 | 0.011217 | 0 | 0 | 998621.8421 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.014729 | 15.5968 | 0.0050271 | 3.4878 | 23.1519 | 13.1544 | 30 | 60.0619 | 25.241 | 117.3089 | 42.9012 | 0.021478 | 0.0051774 | 0.0046653 | 0.011217 | 0 | 0 | 998621.8421 | 18446.0003
8 | 0.8 | 2 | 0.0044884 | 15.6206 | 0.0012927 | 3.4913 | 23.4054 | 13.3402 | 30 | 60.0624 | 25.1527 | 117.5943 | 42.3924 | 0.0057615 | 0.0013567 | 0.0014829 | 0.0029727 | 0 | 0 | 998668.3477 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.0044884 | 15.6206 | 0.0012927 | 3.4913 | 23.4054 | 13.3402 | 30 | 60.0624 | 25.1527 | 117.5943 | 42.3924 | 0.0057615 | 0.0013567 | 0.0014829 | 0.0029727 | 0 | 0 | 998668.3477 | 18446.0003
9 | 0.9 | 2 | 0.0013312 | 15.6285 | 0.0003376 | 3.4926 | 23.5 | 13.4082 | 30 | 60.0623 | 25.1298 | 117.7006 | 42.2134 | 0.0015461 | 0.00035776 | 0.00045348 | 0.00078778 | 0 | 0 | 998680.0405 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.0013312 | 15.6285 | 0.0003376 | 3.4926 | 23.5 | 13.4082 | 30 | 60.0623 | 25.1298 | 117.7006 | 42.2134 | 0.0015461 | 0.00035776 | 0.00045348 | 0.00078778 | 0 | 0 | 998680.0405 | 18446.0003
10 | 1 | 2 | 0.00038823 | 15.6311 | 8.8889e-05 | 3.493 | 23.5342 | 13.4325 | 30 | 60.0622 | 25.1239 | 117.7394 | 42.1509 | 0.00041544 | 9.4954e-05 | 0.00013513 | 0.00020897 | 0 | 0 | 998682.98 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.00038823 | 15.6311 | 8.8889e-05 | 3.493 | 23.5342 | 13.4325 | 30 | 60.0622 | 25.1239 | 117.7394 | 42.1509 | 0.00041544 | 9.4954e-05 | 0.00013513 | 0.00020897 | 0 | 0 | 998682.98 | 18446.0003
11 | 1.1 | 2 | 0.00011157 | 15.6319 | 2.3355e-05 | 3.4932 | 23.5464 | 13.4411 | 30 | 60.0621 | 25.1223 | 117.7533 | 42.1291 | 0.00011119 | 2.5174e-05 | 3.9517e-05 | 5.5174e-05 | 0 | 0 | 998683.7215 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.00011157 | 15.6319 | 2.3355e-05 | 3.4932 | 23.5464 | 13.4411 | 30 | 60.0621 | 25.1223 | 117.7533 | 42.1291 | 0.00011119 | 2.5174e-05 | 3.9517e-05 | 5.5174e-05 | 0 | 0 | 998683.7215 | 18446.0003
12 | 1.2 | 2 | 3.1271e-05 | 15.6322 | 6.0782e-06 | 3.4933 | 23.5508 | 13.4441 | 30 | 60.0621 | 25.1219 | 117.7583 | 42.1215 | 2.9317e-05 | 6.5597e-06 | 1.1302e-05 | 1.435e-05 | 0 | 0 | 998683.9079 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.1271e-05 | 15.6322 | 6.0782e-06 | 3.4933 | 23.5508 | 13.4441 | 30 | 60.0621 | 25.1219 | 117.7583 | 42.1215 | 2.9317e-05 | 6.5597e-06 | 1.1302e-05 | 1.435e-05 | 0 | 0 | 998683.9079 | 18446.0003
13 | 1.3 | 2 | 8.6483e-06 | 15.6323 | 1.541e-06 | 3.4933 | 23.5522 | 13.4451 | 30 | 60.0621 | 25.1218 | 117.76 | 42.119 | 7.6053e-06 | 1.6981e-06 | 3.1503e-06 | 3.6584e-06 | 0 | 0 | 998683.9543 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.6483e-06 | 15.6323 | 1.541e-06 | 3.4933 | 23.5522 | 13.4451 | 30 | 60.0621 | 25.1218 | 117.76 | 42.119 | 7.6053e-06 | 1.6981e-06 | 3.1503e-06 | 3.6584e-06 | 0 | 0 | 998683.9543 | 18446.0003
14 | 1.4 | 2 | 2.7181e-06 | 15.6323 | 4.7514e-07 | 3.4933 | 23.5527 | 13.4454 | 30 | 60.0621 | 25.1218 | 117.7606 | 42.1181 | 2.3513e-06 | 5.2563e-07 | 9.9028e-07 | 1.123e-06 | 0 | 0 | 998683.9644 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.7181e-06 | 15.6323 | 4.7514e-07 | 3.4933 | 23.5527 | 13.4454 | 30 | 60.0621 | 25.1218 | 117.7606 | 42.1181 | 2.3513e-06 | 5.2563e-07 | 9.9028e-07 | 1.123e-06 | 0 | 0 | 998683.9644 | 18446.0003
15 | 1.5 | 2 | 1.0899e-06 | 15.6323 | 1.9692e-07 | 3.4933 | 23.5529 | 13.4456 | 30 | 60.0621 | 25.1218 | 117.7608 | 42.1178 | 9.7144e-07 | 2.156e-07 | 3.9971e-07 | 4.6806e-07 | 0 | 0 | 998683.9668 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0899e-06 | 15.6323 | 1.9692e-07 | 3.4933 | 23.5529 | 13.4456 | 30 | 60.0621 | 25.1218 | 117.7608 | 42.1178 | 9.7144e-07 | 2.156e-07 | 3.9971e-07 | 4.6806e-07 | 0 | 0 | 998683.9668 | 18446.0003
16 | 1.6 | 2 | 3.4517e-07 | 15.6323 | 5.1913e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.7609 | 42.1177 | 2.7949e-07 | 6.211e-08 | 1.273e-07 | 1.3139e-07 | 0 | 0 | 998683.9682 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.4517e-07 | 15.6323 | 5.1913e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.7609 | 42.1177 | 2.7949e-07 | 6.211e-08 | 1.273e-07 | 1.3139e-07 | 0 | 0 | 998683.9682 | 18446.0003
17 | 1.7 | 2 | -1.1154e-08 | 15.6323 | -1.2605e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.1834e-08 | -8.4057e-09 | -4.8626e-09 | -2.4626e-08 | 0 | 0 | 998683.9689 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.1154e-08 | 15.6323 | -1.2605e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.1834e-08 | -8.4057e-09 | -4.8626e-09 | -2.4626e-08 | 0 | 0 | 998683.9689 | 18446.0003
18 | 1.8 | 2 | -6.7511e-08 | 15.6323 | -1.799e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.5904e-08 | -1.9765e-08 | -2.0917e-08 | -4.5119e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -6.7511e-08 | 15.6323 | -1.799e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.5904e-08 | -1.9765e-08 | -2.0917e-08 | -4.5119e-08 | 0 | 0 | 998683.969 | 18446.0003
19 | 1.9 | 2 | -1.2063e-07 | 15.6323 | -2.2761e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2706e-07 | -3.0508e-08 | -3.5698e-08 | -6.4196e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.2063e-07 | 15.6323 | -2.2761e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2706e-07 | -3.0508e-08 | -3.5698e-08 | -6.4196e-08 | 0 | 0 | 998683.969 | 18446.0003
20 | 2 | 2 | -1.7374e-07 | 15.6323 | -2.7533e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.6822e-07 | -4.1252e-08 | -5.048e-08 | -8.3273e-08 | 0 | 0 | 998683.9691 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.7374e-07 | 15.6323 | -2.7533e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.6822e-07 | -4.1252e-08 | -5.048e-08 | -8.3273e-08 | 0 | 0 | 998683.9691 | 18446.0003
21 | 2.1 | 2 | -2.2685e-07 | 15.6323 | -3.2304e-08 | 3.4933 | 23.5531 | 13.4457 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.0938e-07 | -5.1995e-08 | -6.5262e-08 | -1.0235e-07 | 0 | 0 | 998683.9692 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -2.2685e-07 | 15.6323 | -3.2304e-08 | 3.4933 | 23.5531 | 13.4457 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.0938e-07 | -5.1995e-08 | -6.5262e-08 | -1.0235e-07 | 0 | 0 | 998683.9692 | 18446.0003
22 | 2.2 | 2 | -2.3546e-07 | 15.6323 | -3.0269e-08 | 3.4933 | 23.5531 | 13.4457 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.1154e-07 | -5.3626e-08 | -6.5299e-08 | -1.0265e-07 | 0 | 0 | 998683.9692 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -2.3546e-07 | 15.6323 | -3.0269e-08 | 3.4933 | 23.5531 | 13.4457 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.1154e-07 | -5.3626e-08 | -6.5299e-08 | -1.0265e-07 | 0 | 0 | 998683.9692 | 18446.0003
23 | 2.3 | 2 | -1.7606e-07 | 15.6323 | -1.7831e-08 | 3.4933 | 23.5531 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.5409e-07 | -4.133e-08 | -4.2804e-08 | -7.4245e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.7606e-07 | 15.6323 | -1.7831e-08 | 3.4933 | 23.5531 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.5409e-07 | -4.133e-08 | -4.2804e-08 | -7.4245e-08 | 0 | 0 | 998683.969 | 18446.0003
24 | 2.4 | 2 | -1.1666e-07 | 15.6323 | -5.3938e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.6638e-08 | -2.9034e-08 | -2.0309e-08 | -4.5842e-08 | 0 | 0 | 998683.9689 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.1666e-07 | 15.6323 | -5.3938e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.6638e-08 | -2.9034e-08 | -2.0309e-08 | -4.5842e-08 | 0 | 0 | 998683.9689 | 18446.0003
25 | 2.5 | 2 | -5.7261e-08 | 15.6323 | 7.0437e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.9187e-08 | -1.6739e-08 | 2.1864e-09 | -1.7439e-08 | 0 | 0 | 998683.9688 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -5.7261e-08 | 15.6323 | 7.0437e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.9187e-08 | -1.6739e-08 | 2.1864e-09 | -1.7439e-08 | 0 | 0 | 998683.9688 | 18446.0003
26 | 2.6 | 2 | 2.1398e-09 | 15.6323 | 1.9481e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.8264e-08 | -4.443e-09 | 2.4682e-08 | 1.0964e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.1398e-09 | 15.6323 | 1.9481e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.8264e-08 | -4.443e-09 | 2.4682e-08 | 1.0964e-08 | 0 | 0 | 998683.9687 | 18446.0003
27 | 2.7 | 2 | 1.8109e-08 | 15.6323 | 2.0128e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.1138e-08 | -5.8127e-10 | 2.7518e-08 | 1.702e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.8109e-08 | 15.6323 | 2.0128e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.1138e-08 | -5.8127e-10 | 2.7518e-08 | 1.702e-08 | 0 | 0 | 998683.9686 | 18446.0003
28 | 2.8 | 2 | 2.3528e-08 | 15.6323 | 1.7911e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3183e-08 | 1.2315e-09 | 2.5578e-08 | 1.7646e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.3528e-08 | 15.6323 | 1.7911e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3183e-08 | 1.2315e-09 | 2.5578e-08 | 1.7646e-08 | 0 | 0 | 998683.9686 | 18446.0003
29 | 2.9 | 2 | 2.8947e-08 | 15.6323 | 1.5694e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.5228e-08 | 3.0443e-09 | 2.3638e-08 | 1.8273e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.8947e-08 | 15.6323 | 1.5694e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.5228e-08 | 3.0443e-09 | 2.3638e-08 | 1.8273e-08 | 0 | 0 | 998683.9686 | 18446.0003
30 | 3 | 2 | 3.4365e-08 | 15.6323 | 1.3477e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.7274e-08 | 4.857e-09 | 2.1698e-08 | 1.89e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.4365e-08 | 15.6323 | 1.3477e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.7274e-08 | 4.857e-09 | 2.1698e-08 | 1.89e-08 | 0 | 0 | 998683.9686 | 18446.0003
31 | 3.1 | 2 | 3.8263e-08 | 15.6323 | 1.1632e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.852e-08 | 6.221e-09 | 1.9994e-08 | 1.9213e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.8263e-08 | 15.6323 | 1.1632e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.852e-08 | 6.221e-09 | 1.9994e-08 | 1.9213e-08 | 0 | 0 | 998683.9686 | 18446.0003
32 | 3.2 | 2 | 3.6557e-08 | 15.6323 | 1.1159e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.6824e-08 | 5.9322e-09 | 1.916e-08 | 1.8368e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.6557e-08 | 15.6323 | 1.1159e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.6824e-08 | 5.9322e-09 | 1.916e-08 | 1.8368e-08 | 0 | 0 | 998683.9686 | 18446.0003
33 | 3.3 | 2 | 3.4851e-08 | 15.6323 | 1.0686e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.5128e-08 | 5.6435e-09 | 1.8326e-08 | 1.7524e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.4851e-08 | 15.6323 | 1.0686e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.5128e-08 | 5.6435e-09 | 1.8326e-08 | 1.7524e-08 | 0 | 0 | 998683.9686 | 18446.0003
34 | 3.4 | 2 | 3.3145e-08 | 15.6323 | 1.0212e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3432e-08 | 5.3548e-09 | 1.7493e-08 | 1.668e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.3145e-08 | 15.6323 | 1.0212e-08 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3432e-08 | 5.3548e-09 | 1.7493e-08 | 1.668e-08 | 0 | 0 | 998683.9686 | 18446.0003
35 | 3.5 | 2 | 3.1439e-08 | 15.6323 | 9.7389e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.1736e-08 | 5.066e-09 | 1.6659e-08 | 1.5835e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.1439e-08 | 15.6323 | 9.7389e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.1736e-08 | 5.066e-09 | 1.6659e-08 | 1.5835e-08 | 0 | 0 | 998683.9687 | 18446.0003
36 | 3.6 | 2 | 2.9733e-08 | 15.6323 | 9.2656e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.004e-08 | 4.7773e-09 | 1.5825e-08 | 1.4991e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.9733e-08 | 15.6323 | 9.2656e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.004e-08 | 4.7773e-09 | 1.5825e-08 | 1.4991e-08 | 0 | 0 | 998683.9687 | 18446.0003
37 | 3.7 | 2 | 2.8027e-08 | 15.6323 | 8.7923e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.8345e-08 | 4.4885e-09 | 1.4991e-08 | 1.4147e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.8027e-08 | 15.6323 | 8.7923e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.8345e-08 | 4.4885e-09 | 1.4991e-08 | 1.4147e-08 | 0 | 0 | 998683.9687 | 18446.0003
38 | 3.8 | 2 | 2.6321e-08 | 15.6323 | 8.319e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.6649e-08 | 4.1998e-09 | 1.4157e-08 | 1.3302e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.6321e-08 | 15.6323 | 8.319e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.6649e-08 | 4.1998e-09 | 1.4157e-08 | 1.3302e-08 | 0 | 0 | 998683.9687 | 18446.0003
39 | 3.9 | 2 | 2.4615e-08 | 15.6323 | 7.8457e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.4953e-08 | 3.911e-09 | 1.3323e-08 | 1.2458e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.4615e-08 | 15.6323 | 7.8457e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.4953e-08 | 3.911e-09 | 1.3323e-08 | 1.2458e-08 | 0 | 0 | 998683.9687 | 18446.0003
40 | 4 | 2 | 2.291e-08 | 15.6323 | 7.3724e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.3257e-08 | 3.6223e-09 | 1.2489e-08 | 1.1614e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.291e-08 | 15.6323 | 7.3724e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.3257e-08 | 3.6223e-09 | 1.2489e-08 | 1.1614e-08 | 0 | 0 | 998683.9687 | 18446.0003
41 | 4.1 | 2 | 2.1204e-08 | 15.6323 | 6.8991e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.1561e-08 | 3.3335e-09 | 1.1655e-08 | 1.077e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.1204e-08 | 15.6323 | 6.8991e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.1561e-08 | 3.3335e-09 | 1.1655e-08 | 1.077e-08 | 0 | 0 | 998683.9687 | 18446.0003
42 | 4.2 | 2 | 1.9498e-08 | 15.6323 | 6.4258e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.9865e-08 | 3.0448e-09 | 1.0821e-08 | 9.9252e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.9498e-08 | 15.6323 | 6.4258e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.9865e-08 | 3.0448e-09 | 1.0821e-08 | 9.9252e-09 | 0 | 0 | 998683.9687 | 18446.0003
43 | 4.3 | 2 | 1.7792e-08 | 15.6323 | 5.9525e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.8169e-08 | 2.7561e-09 | 9.9867e-09 | 9.0809e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.7792e-08 | 15.6323 | 5.9525e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.8169e-08 | 2.7561e-09 | 9.9867e-09 | 9.0809e-09 | 0 | 0 | 998683.9687 | 18446.0003
44 | 4.4 | 2 | 1.6086e-08 | 15.6323 | 5.4792e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.6473e-08 | 2.4673e-09 | 9.1528e-09 | 8.2366e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.6086e-08 | 15.6323 | 5.4792e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.6473e-08 | 2.4673e-09 | 9.1528e-09 | 8.2366e-09 | 0 | 0 | 998683.9687 | 18446.0003
45 | 4.5 | 2 | 1.438e-08 | 15.6323 | 5.0059e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.4777e-08 | 2.1786e-09 | 8.3188e-09 | 7.3923e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.438e-08 | 15.6323 | 5.0059e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.4777e-08 | 2.1786e-09 | 8.3188e-09 | 7.3923e-09 | 0 | 0 | 998683.9687 | 18446.0003
46 | 4.6 | 2 | 1.2674e-08 | 15.6323 | 4.5325e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.3081e-08 | 1.8898e-09 | 7.4848e-09 | 6.548e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2674e-08 | 15.6323 | 4.5325e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.3081e-08 | 1.8898e-09 | 7.4848e-09 | 6.548e-09 | 0 | 0 | 998683.9687 | 18446.0003
47 | 4.7 | 2 | 1.0968e-08 | 15.6323 | 4.0592e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.1385e-08 | 1.6011e-09 | 6.6508e-09 | 5.7037e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0968e-08 | 15.6323 | 4.0592e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.1385e-08 | 1.6011e-09 | 6.6508e-09 | 5.7037e-09 | 0 | 0 | 998683.9687 | 18446.0003
48 | 4.8 | 2 | 9.2624e-09 | 15.6323 | 3.5859e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.6896e-09 | 1.3123e-09 | 5.8169e-09 | 4.8594e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.2624e-09 | 15.6323 | 3.5859e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.6896e-09 | 1.3123e-09 | 5.8169e-09 | 4.8594e-09 | 0 | 0 | 998683.9687 | 18446.0003
49 | 4.9 | 2 | 7.5565e-09 | 15.6323 | 3.1126e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 7.9937e-09 | 1.0236e-09 | 4.9829e-09 | 4.0151e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.5565e-09 | 15.6323 | 3.1126e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 7.9937e-09 | 1.0236e-09 | 4.9829e-09 | 4.0151e-09 | 0 | 0 | 998683.9687 | 18446.0003
50 | 5 | 2 | 5.8506e-09 | 15.6323 | 2.6393e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 6.2978e-09 | 7.3485e-10 | 4.1489e-09 | 3.1708e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.8506e-09 | 15.6323 | 2.6393e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 6.2978e-09 | 7.3485e-10 | 4.1489e-09 | 3.1708e-09 | 0 | 0 | 998683.9687 | 18446.0003
51 | 5.1 | 2 | 4.1447e-09 | 15.6323 | 2.166e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.6019e-09 | 4.4611e-10 | 3.3149e-09 | 2.3265e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.1447e-09 | 15.6323 | 2.166e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.6019e-09 | 4.4611e-10 | 3.3149e-09 | 2.3265e-09 | 0 | 0 | 998683.9687 | 18446.0003
52 | 5.2 | 2 | 2.4389e-09 | 15.6323 | 1.6927e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.906e-09 | 1.5736e-10 | 2.481e-09 | 1.4822e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.4389e-09 | 15.6323 | 1.6927e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.906e-09 | 1.5736e-10 | 2.481e-09 | 1.4822e-09 | 0 | 0 | 998683.9687 | 18446.0003
53 | 5.3 | 2 | 1.1332e-09 | 15.6323 | 1.3169e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.6013e-09 | -5.9919e-11 | 1.8252e-09 | 8.3205e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1332e-09 | 15.6323 | 1.3169e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.6013e-09 | -5.9919e-11 | 1.8252e-09 | 8.3205e-10 | 0 | 0 | 998683.9687 | 18446.0003
54 | 5.4 | 2 | 1.0811e-09 | 15.6323 | 1.2468e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.5218e-09 | -5.338e-11 | 1.7278e-09 | 7.9005e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0811e-09 | 15.6323 | 1.2468e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.5218e-09 | -5.338e-11 | 1.7278e-09 | 7.9005e-10 | 0 | 0 | 998683.9687 | 18446.0003
55 | 5.5 | 2 | 1.029e-09 | 15.6323 | 1.1767e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.4424e-09 | -4.6842e-11 | 1.6304e-09 | 7.4805e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.029e-09 | 15.6323 | 1.1767e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.4424e-09 | -4.6842e-11 | 1.6304e-09 | 7.4805e-10 | 0 | 0 | 998683.9687 | 18446.0003
56 | 5.6 | 2 | 9.7696e-10 | 15.6323 | 1.1065e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.363e-09 | -4.0304e-11 | 1.533e-09 | 7.0605e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.7696e-10 | 15.6323 | 1.1065e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.363e-09 | -4.0304e-11 | 1.533e-09 | 7.0605e-10 | 0 | 0 | 998683.9687 | 18446.0003
57 | 5.7 | 2 | 9.2488e-10 | 15.6323 | 1.0364e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2835e-09 | -3.3765e-11 | 1.4355e-09 | 6.6405e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.2488e-10 | 15.6323 | 1.0364e-09 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2835e-09 | -3.3765e-11 | 1.4355e-09 | 6.6405e-10 | 0 | 0 | 998683.9687 | 18446.0003
58 | 5.8 | 2 | 8.7279e-10 | 15.6323 | 9.6624e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2041e-09 | -2.7227e-11 | 1.3381e-09 | 6.2204e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.7279e-10 | 15.6323 | 9.6624e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2041e-09 | -2.7227e-11 | 1.3381e-09 | 6.2204e-10 | 0 | 0 | 998683.9687 | 18446.0003
59 | 5.9 | 2 | 8.2071e-10 | 15.6323 | 8.961e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.1246e-09 | -2.0689e-11 | 1.2407e-09 | 5.8004e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.2071e-10 | 15.6323 | 8.961e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.1246e-09 | -2.0689e-11 | 1.2407e-09 | 5.8004e-10 | 0 | 0 | 998683.9687 | 18446.0003
60 | 6 | 2 | 7.6862e-10 | 15.6323 | 8.2596e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.0452e-09 | -1.4151e-11 | 1.1433e-09 | 5.3804e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.6862e-10 | 15.6323 | 8.2596e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.0452e-09 | -1.4151e-11 | 1.1433e-09 | 5.3804e-10 | 0 | 0 | 998683.9687 | 18446.0003
61 | 6.1 | 2 | 7.1653e-10 | 15.6323 | 7.5582e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.6576e-10 | -7.6125e-12 | 1.0458e-09 | 4.9604e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.1653e-10 | 15.6323 | 7.5582e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.6576e-10 | -7.6125e-12 | 1.0458e-09 | 4.9604e-10 | 0 | 0 | 998683.9687 | 18446.0003
62 | 6.2 | 2 | 6.6445e-10 | 15.6323 | 6.8567e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 8.8632e-10 | -1.0742e-12 | 9.4841e-10 | 4.5404e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.6445e-10 | 15.6323 | 6.8567e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 8.8632e-10 | -1.0742e-12 | 9.4841e-10 | 4.5404e-10 | 0 | 0 | 998683.9687 | 18446.0003
63 | 6.3 | 2 | 6.1236e-10 | 15.6323 | 6.1553e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 8.0688e-10 | 5.464e-12 | 8.5098e-10 | 4.1204e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.1236e-10 | 15.6323 | 6.1553e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 8.0688e-10 | 5.464e-12 | 8.5098e-10 | 4.1204e-10 | 0 | 0 | 998683.9687 | 18446.0003
64 | 6.4 | 2 | 5.6028e-10 | 15.6323 | 5.4539e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 7.2744e-10 | 1.2002e-11 | 7.5356e-10 | 3.7004e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.6028e-10 | 15.6323 | 5.4539e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 7.2744e-10 | 1.2002e-11 | 7.5356e-10 | 3.7004e-10 | 0 | 0 | 998683.9687 | 18446.0003
65 | 6.5 | 2 | 5.0819e-10 | 15.6323 | 4.7525e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 6.48e-10 | 1.8541e-11 | 6.5613e-10 | 3.2804e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.0819e-10 | 15.6323 | 4.7525e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 6.48e-10 | 1.8541e-11 | 6.5613e-10 | 3.2804e-10 | 0 | 0 | 998683.9687 | 18446.0003
66 | 6.6 | 2 | 4.561e-10 | 15.6323 | 4.0511e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 5.6856e-10 | 2.5079e-11 | 5.587e-10 | 2.8603e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.561e-10 | 15.6323 | 4.0511e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 5.6856e-10 | 2.5079e-11 | 5.587e-10 | 2.8603e-10 | 0 | 0 | 998683.9687 | 18446.0003
67 | 6.7 | 2 | 4.0402e-10 | 15.6323 | 3.3497e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.8912e-10 | 3.1617e-11 | 4.6128e-10 | 2.4403e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.0402e-10 | 15.6323 | 3.3497e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.8912e-10 | 3.1617e-11 | 4.6128e-10 | 2.4403e-10 | 0 | 0 | 998683.9687 | 18446.0003
68 | 6.8 | 2 | 3.5193e-10 | 15.6323 | 2.6483e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.0968e-10 | 3.8155e-11 | 3.6385e-10 | 2.0203e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.5193e-10 | 15.6323 | 2.6483e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 4.0968e-10 | 3.8155e-11 | 3.6385e-10 | 2.0203e-10 | 0 | 0 | 998683.9687 | 18446.0003
69 | 6.9 | 2 | 2.9985e-10 | 15.6323 | 1.9468e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3024e-10 | 4.4694e-11 | 2.6642e-10 | 1.6003e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.9985e-10 | 15.6323 | 1.9468e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 3.3024e-10 | 4.4694e-11 | 2.6642e-10 | 1.6003e-10 | 0 | 0 | 998683.9687 | 18446.0003
70 | 7 | 2 | 2.4776e-10 | 15.6323 | 1.2454e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.508e-10 | 5.1232e-11 | 1.69e-10 | 1.1803e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.4776e-10 | 15.6323 | 1.2454e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 2.508e-10 | 5.1232e-11 | 1.69e-10 | 1.1803e-10 | 0 | 0 | 998683.9687 | 18446.0003
71 | 7.1 | 2 | 1.9568e-10 | 15.6323 | 5.4402e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.7136e-10 | 5.777e-11 | 7.1571e-11 | 7.6028e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.9568e-10 | 15.6323 | 5.4402e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.7136e-10 | 5.777e-11 | 7.1571e-11 | 7.6028e-11 | 0 | 0 | 998683.9687 | 18446.0003
72 | 7.2 | 2 | 1.4359e-10 | 15.6323 | -1.5739e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.1919e-11 | 6.4308e-11 | -2.5856e-11 | 3.4027e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4359e-10 | 15.6323 | -1.5739e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 9.1919e-11 | 6.4308e-11 | -2.5856e-11 | 3.4027e-11 | 0 | 0 | 998683.9687 | 18446.0003
73 | 7.3 | 2 | 9.1504e-11 | 15.6323 | -8.588e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2479e-11 | 7.0847e-11 | -1.2328e-10 | -7.9744e-12 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.1504e-11 | 15.6323 | -8.588e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | 1.2479e-11 | 7.0847e-11 | -1.2328e-10 | -7.9744e-12 | 0 | 0 | 998683.9687 | 18446.0003
74 | 7.4 | 2 | 3.9418e-11 | 15.6323 | -1.5602e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.696e-11 | 7.7385e-11 | -2.2071e-10 | -4.9976e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.9418e-11 | 15.6323 | -1.5602e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.696e-11 | 7.7385e-11 | -2.2071e-10 | -4.9976e-11 | 0 | 0 | 998683.9687 | 18446.0003
75 | 7.5 | 2 | 1.3938e-12 | 15.6323 | -2.0522e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2371e-10 | 8.1437e-11 | -2.8903e-10 | -7.9844e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3938e-12 | 15.6323 | -2.0522e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2371e-10 | 8.1437e-11 | -2.8903e-10 | -7.9844e-11 | 0 | 0 | 998683.9687 | 18446.0003
76 | 7.6 | 2 | 1.2983e-12 | 15.6323 | -1.9795e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1924e-10 | 7.8783e-11 | -2.7885e-10 | -7.6986e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2983e-12 | 15.6323 | -1.9795e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1924e-10 | 7.8783e-11 | -2.7885e-10 | -7.6986e-11 | 0 | 0 | 998683.9687 | 18446.0003
77 | 7.7 | 2 | 1.2027e-12 | 15.6323 | -1.9067e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1478e-10 | 7.613e-11 | -2.6866e-10 | -7.4129e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2027e-12 | 15.6323 | -1.9067e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1478e-10 | 7.613e-11 | -2.6866e-10 | -7.4129e-11 | 0 | 0 | 998683.9687 | 18446.0003
78 | 7.8 | 2 | 1.1071e-12 | 15.6323 | -1.8339e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1031e-10 | 7.3476e-11 | -2.5848e-10 | -7.1271e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1071e-12 | 15.6323 | -1.8339e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.1031e-10 | 7.3476e-11 | -2.5848e-10 | -7.1271e-11 | 0 | 0 | 998683.9687 | 18446.0003
79 | 7.9 | 2 | 1.0116e-12 | 15.6323 | -1.7611e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.0585e-10 | 7.0823e-11 | -2.4829e-10 | -6.8413e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0116e-12 | 15.6323 | -1.7611e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.0585e-10 | 7.0823e-11 | -2.4829e-10 | -6.8413e-11 | 0 | 0 | 998683.9687 | 18446.0003
80 | 8 | 2 | 9.1601e-13 | 15.6323 | -1.6884e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.0138e-10 | 6.8169e-11 | -2.3811e-10 | -6.5555e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.1601e-13 | 15.6323 | -1.6884e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.0138e-10 | 6.8169e-11 | -2.3811e-10 | -6.5555e-11 | 0 | 0 | 998683.9687 | 18446.0003
81 | 8.1 | 2 | 8.2045e-13 | 15.6323 | -1.6156e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.692e-11 | 6.5516e-11 | -2.2792e-10 | -6.2698e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.2045e-13 | 15.6323 | -1.6156e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.692e-11 | 6.5516e-11 | -2.2792e-10 | -6.2698e-11 | 0 | 0 | 998683.9687 | 18446.0003
82 | 8.2 | 2 | 7.2488e-13 | 15.6323 | -1.5428e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.2456e-11 | 6.2862e-11 | -2.1774e-10 | -5.984e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.2488e-13 | 15.6323 | -1.5428e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -9.2456e-11 | 6.2862e-11 | -2.1774e-10 | -5.984e-11 | 0 | 0 | 998683.9687 | 18446.0003
83 | 8.3 | 2 | 6.2932e-13 | 15.6323 | -1.47e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.7992e-11 | 6.0209e-11 | -2.0755e-10 | -5.6982e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.2932e-13 | 15.6323 | -1.47e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.7992e-11 | 6.0209e-11 | -2.0755e-10 | -5.6982e-11 | 0 | 0 | 998683.9687 | 18446.0003
84 | 8.4 | 2 | 5.3375e-13 | 15.6323 | -1.3973e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.3527e-11 | 5.7555e-11 | -1.9737e-10 | -5.4125e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.3375e-13 | 15.6323 | -1.3973e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -8.3527e-11 | 5.7555e-11 | -1.9737e-10 | -5.4125e-11 | 0 | 0 | 998683.9687 | 18446.0003
85 | 8.5 | 2 | 4.3819e-13 | 15.6323 | -1.3245e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.9063e-11 | 5.4901e-11 | -1.8718e-10 | -5.1267e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.3819e-13 | 15.6323 | -1.3245e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.9063e-11 | 5.4901e-11 | -1.8718e-10 | -5.1267e-11 | 0 | 0 | 998683.9687 | 18446.0003
86 | 8.6 | 2 | 3.4262e-13 | 15.6323 | -1.2517e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.4598e-11 | 5.2248e-11 | -1.77e-10 | -4.8409e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.4262e-13 | 15.6323 | -1.2517e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.4598e-11 | 5.2248e-11 | -1.77e-10 | -4.8409e-11 | 0 | 0 | 998683.9687 | 18446.0003
87 | 8.7 | 2 | 2.4706e-13 | 15.6323 | -1.1789e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.0134e-11 | 4.9594e-11 | -1.6681e-10 | -4.5552e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.4706e-13 | 15.6323 | -1.1789e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -7.0134e-11 | 4.9594e-11 | -1.6681e-10 | -4.5552e-11 | 0 | 0 | 998683.9687 | 18446.0003
88 | 8.8 | 2 | 1.515e-13 | 15.6323 | -1.1062e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.567e-11 | 4.6941e-11 | -1.5663e-10 | -4.2694e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.515e-13 | 15.6323 | -1.1062e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.567e-11 | 4.6941e-11 | -1.5663e-10 | -4.2694e-11 | 0 | 0 | 998683.9687 | 18446.0003
89 | 8.9 | 2 | 5.5931e-14 | 15.6323 | -1.0334e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.1205e-11 | 4.4287e-11 | -1.4644e-10 | -3.9836e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.5931e-14 | 15.6323 | -1.0334e-10 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -6.1205e-11 | 4.4287e-11 | -1.4644e-10 | -3.9836e-11 | 0 | 0 | 998683.9687 | 18446.0003
90 | 9 | 2 | -3.9634e-14 | 15.6323 | -9.6061e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -5.6741e-11 | 4.1634e-11 | -1.3626e-10 | -3.6978e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -3.9634e-14 | 15.6323 | -9.6061e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -5.6741e-11 | 4.1634e-11 | -1.3626e-10 | -3.6978e-11 | 0 | 0 | 998683.9687 | 18446.0003
91 | 9.1 | 2 | -1.352e-13 | 15.6323 | -8.8784e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -5.2276e-11 | 3.898e-11 | -1.2607e-10 | -3.4121e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.352e-13 | 15.6323 | -8.8784e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -5.2276e-11 | 3.898e-11 | -1.2607e-10 | -3.4121e-11 | 0 | 0 | 998683.9687 | 18446.0003
92 | 9.2 | 2 | -2.3076e-13 | 15.6323 | -8.1506e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.7812e-11 | 3.6327e-11 | -1.1589e-10 | -3.1263e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -2.3076e-13 | 15.6323 | -8.1506e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.7812e-11 | 3.6327e-11 | -1.1589e-10 | -3.1263e-11 | 0 | 0 | 998683.9687 | 18446.0003
93 | 9.3 | 2 | -3.2633e-13 | 15.6323 | -7.4229e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.3348e-11 | 3.3673e-11 | -1.057e-10 | -2.8405e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -3.2633e-13 | 15.6323 | -7.4229e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -4.3348e-11 | 3.3673e-11 | -1.057e-10 | -2.8405e-11 | 0 | 0 | 998683.9687 | 18446.0003
94 | 9.4 | 2 | -4.2189e-13 | 15.6323 | -6.6951e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.8883e-11 | 3.1019e-11 | -9.5515e-11 | -2.5548e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -4.2189e-13 | 15.6323 | -6.6951e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.8883e-11 | 3.1019e-11 | -9.5515e-11 | -2.5548e-11 | 0 | 0 | 998683.9687 | 18446.0003
95 | 9.5 | 2 | -5.1746e-13 | 15.6323 | -5.9674e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.4419e-11 | 2.8366e-11 | -8.533e-11 | -2.269e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -5.1746e-13 | 15.6323 | -5.9674e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -3.4419e-11 | 2.8366e-11 | -8.533e-11 | -2.269e-11 | 0 | 0 | 998683.9687 | 18446.0003
96 | 9.6 | 2 | -6.1302e-13 | 15.6323 | -5.2396e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.9954e-11 | 2.5712e-11 | -7.5145e-11 | -1.9832e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -6.1302e-13 | 15.6323 | -5.2396e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.9954e-11 | 2.5712e-11 | -7.5145e-11 | -1.9832e-11 | 0 | 0 | 998683.9687 | 18446.0003
97 | 9.7 | 2 | -7.0859e-13 | 15.6323 | -4.5119e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.549e-11 | 2.3059e-11 | -6.496e-11 | -1.6974e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -7.0859e-13 | 15.6323 | -4.5119e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.549e-11 | 2.3059e-11 | -6.496e-11 | -1.6974e-11 | 0 | 0 | 998683.9687 | 18446.0003
98 | 9.8 | 2 | -8.0415e-13 | 15.6323 | -3.7841e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.1026e-11 | 2.0405e-11 | -5.4775e-11 | -1.4117e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -8.0415e-13 | 15.6323 | -3.7841e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -2.1026e-11 | 2.0405e-11 | -5.4775e-11 | -1.4117e-11 | 0 | 0 | 998683.9687 | 18446.0003
99 | 9.9 | 2 | -8.9971e-13 | 15.6323 | -3.0564e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.6561e-11 | 1.7752e-11 | -4.459e-11 | -1.1259e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -8.9971e-13 | 15.6323 | -3.0564e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.6561e-11 | 1.7752e-11 | -4.459e-11 | -1.1259e-11 | 0 | 0 | 998683.9687 | 18446.0003
100 | 10 | 2 | -9.9528e-13 | 15.6323 | -2.3286e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2097e-11 | 1.5098e-11 | -3.4405e-11 | -8.4014e-12 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -9.9528e-13 | 15.6323 | -2.3286e-11 | 3.4933 | 23.553 | 13.4456 | 30 | 60.0621 | 25.1217 | 117.761 | 42.1176 | -1.2097e-11 | 1.5098e-11 | -3.4405e-11 | -8.4014e-12 | 0 | 0 | 998683.9687 | 18446.0003