## Sheet1
ID | - | CSTR | [19 empty] | influent | [19 empty] | effluent
variable | t [d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d]
0 | 0 | 5.4251e-09 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 3.9048e-05 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 5.4251e-09 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 3.9048e-05 | 18446.003
1 | 0.1 | 3.5534 | 6.4833 | 8.7665 | 6.8109 | 4.257 | 2.2252 | 0.81604 | 30 | 57.866 | 472.2723 | 79.8005 | 544.4496 | 63.5183 | 18.4951 | 0.21889 | 32.7916 | 0 | 0 | 748261.8907 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 3.5534 | 6.4833 | 8.7665 | 6.8109 | 4.257 | 2.2252 | 0.81604 | 30 | 57.866 | 472.2723 | 79.8005 | 544.4496 | 63.5183 | 18.4951 | 0.21889 | 32.7916 | 0 | 0 | 748261.8907 | 18446.003
2 | 0.2 | 5.6579 | 1.87 | 10.8582 | 4.0595 | 3.5011 | 5.9301 | 2.4907 | 30 | 57.6019 | 137.8583 | 86.0391 | 191.6275 | 16.2208 | 4.6752 | 0.19284 | 8.7207 | 0 | 0 | 935875.6319 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 5.6579 | 1.87 | 10.8582 | 4.0595 | 3.5011 | 5.9301 | 2.4907 | 30 | 57.6019 | 137.8583 | 86.0391 | 191.6275 | 16.2208 | 4.6752 | 0.19284 | 8.7207 | 0 | 0 | 935875.6319 | 18446.003
3 | 0.3 | 6.5428 | 0.57692 | 13.4018 | 1.6398 | 3.3805 | 12.0485 | 5.6446 | 30 | 58.9802 | 53.7435 | 100.5412 | 92.1109 | 4.2759 | 1.203 | 0.14383 | 2.3392 | 0 | 0 | 982839.8496 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 6.5428 | 0.57692 | 13.4018 | 1.6398 | 3.3805 | 12.0485 | 5.6446 | 30 | 58.9802 | 53.7435 | 100.5412 | 92.1109 | 4.2759 | 1.203 | 0.14383 | 2.3392 | 0 | 0 | 982839.8496 | 18446.003
4 | 0.4 | 6.8939 | 0.19501 | 14.7169 | 0.55756 | 3.4105 | 17.393 | 8.8025 | 30 | 59.6968 | 32.3387 | 109.7615 | 60.2867 | 1.1345 | 0.30891 | 0.077249 | 0.62323 | 0 | 0 | 994723.9811 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 6.8939 | 0.19501 | 14.7169 | 0.55756 | 3.4105 | 17.393 | 8.8025 | 30 | 59.6968 | 32.3387 | 109.7615 | 60.2867 | 1.1345 | 0.30891 | 0.077249 | 0.62323 | 0 | 0 | 994723.9811 | 18446.003
5 | 0.5 | 7.0197 | 0.071412 | 15.2648 | 0.17207 | 3.4457 | 20.4983 | 10.8338 | 30 | 59.9585 | 26.9679 | 114.1405 | 49.4097 | 0.30586 | 0.08076 | 0.032537 | 0.16777 | 0 | 0 | 997684.0392 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0197 | 0.071412 | 15.2648 | 0.17207 | 3.4457 | 20.4983 | 10.8338 | 30 | 59.9585 | 26.9679 | 114.1405 | 49.4097 | 0.30586 | 0.08076 | 0.032537 | 0.16777 | 0 | 0 | 997684.0392 | 18446.003
6 | 0.6 | 7.0638 | 0.025891 | 15.4736 | 0.049457 | 3.4654 | 21.9773 | 11.8569 | 30 | 60.0399 | 25.5935 | 116.0124 | 45.5073 | 0.081921 | 0.021095 | 0.011823 | 0.04476 | 0 | 0 | 998434.0005 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0638 | 0.025891 | 15.4736 | 0.049457 | 3.4654 | 21.9773 | 11.8569 | 30 | 60.0399 | 25.5935 | 116.0124 | 45.5073 | 0.081921 | 0.021095 | 0.011823 | 0.04476 | 0 | 0 | 998434.0005 | 18446.003
7 | 0.7 | 7.079 | 0.0089272 | 15.5478 | 0.01378 | 3.4743 | 22.6055 | 12.299 | 30 | 60.0623 | 25.245 | 116.7602 | 44.1062 | 0.021979 | 0.0055558 | 0.0039397 | 0.011946 | 0 | 0 | 998621.4564 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.079 | 0.0089272 | 15.5478 | 0.01378 | 3.4743 | 22.6055 | 12.299 | 30 | 60.0623 | 25.245 | 116.7602 | 44.1062 | 0.021979 | 0.0055558 | 0.0039397 | 0.011946 | 0 | 0 | 998621.4564 | 18446.003
8 | 0.8 | 7.0842 | 0.0029288 | 15.5731 | 0.0037905 | 3.4779 | 22.8548 | 12.4735 | 30 | 60.0681 | 25.1562 | 117.0477 | 43.6048 | 0.0059102 | 0.0014745 | 0.0012456 | 0.0031933 | 0 | 0 | 998668.3094 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0842 | 0.0029288 | 15.5731 | 0.0037905 | 3.4779 | 22.8548 | 12.4735 | 30 | 60.0681 | 25.1562 | 117.0477 | 43.6048 | 0.0059102 | 0.0014745 | 0.0012456 | 0.0031933 | 0 | 0 | 998668.3094 | 18446.003
9 | 0.9 | 7.086 | 0.00092234 | 15.5815 | 0.0010337 | 3.4792 | 22.9495 | 12.5391 | 30 | 60.0694 | 25.1333 | 117.1557 | 43.426 | 0.0015896 | 0.00039379 | 0.00037759 | 0.00085328 | 0 | 0 | 998680.0442 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.086 | 0.00092234 | 15.5815 | 0.0010337 | 3.4792 | 22.9495 | 12.5391 | 30 | 60.0694 | 25.1333 | 117.1557 | 43.426 | 0.0015896 | 0.00039379 | 0.00037759 | 0.00085328 | 0 | 0 | 998680.0442 | 18446.003
10 | 1 | 7.0866 | 0.00028067 | 15.5843 | 0.00027875 | 3.4797 | 22.9844 | 12.5629 | 30 | 60.0698 | 25.1274 | 117.1955 | 43.3626 | 0.00042493 | 0.00010476 | 0.00011119 | 0.00022654 | 0 | 0 | 998682.9917 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0866 | 0.00028067 | 15.5843 | 0.00027875 | 3.4797 | 22.9844 | 12.5629 | 30 | 60.0698 | 25.1274 | 117.1955 | 43.3626 | 0.00042493 | 0.00010476 | 0.00011119 | 0.00022654 | 0 | 0 | 998682.9917 | 18446.003
11 | 1.1 | 7.0868 | 8.5405e-05 | 15.5852 | 7.672e-05 | 3.4799 | 22.9968 | 12.5713 | 30 | 60.0698 | 25.1258 | 117.2097 | 43.3407 | 0.00011644 | 2.8649e-05 | 3.2849e-05 | 6.1639e-05 | 0 | 0 | 998683.7189 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0868 | 8.5405e-05 | 15.5852 | 7.672e-05 | 3.4799 | 22.9968 | 12.5713 | 30 | 60.0698 | 25.1258 | 117.2097 | 43.3407 | 0.00011644 | 2.8649e-05 | 3.2849e-05 | 6.1639e-05 | 0 | 0 | 998683.7189 | 18446.003
12 | 1.2 | 7.0869 | 2.5346e-05 | 15.5855 | 2.0488e-05 | 3.4799 | 23.0012 | 12.5743 | 30 | 60.0698 | 25.1254 | 117.2149 | 43.3329 | 3.1476e-05 | 8.1105e-06 | 8.5183e-06 | 1.641e-05 | 0 | 0 | 998683.9065 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.5346e-05 | 15.5855 | 2.0488e-05 | 3.4799 | 23.0012 | 12.5743 | 30 | 60.0698 | 25.1254 | 117.2149 | 43.3329 | 3.1476e-05 | 8.1105e-06 | 8.5183e-06 | 1.641e-05 | 0 | 0 | 998683.9065 | 18446.003
13 | 1.3 | 7.0869 | 7.219e-06 | 15.5856 | 5.435e-06 | 3.4799 | 23.0029 | 12.5753 | 30 | 60.0698 | 25.1253 | 117.2168 | 43.3301 | 8.1904e-06 | 1.9004e-06 | 2.8188e-06 | 4.2892e-06 | 0 | 0 | 998683.9536 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 7.219e-06 | 15.5856 | 5.435e-06 | 3.4799 | 23.0029 | 12.5753 | 30 | 60.0698 | 25.1253 | 117.2168 | 43.3301 | 8.1904e-06 | 1.9004e-06 | 2.8188e-06 | 4.2892e-06 | 0 | 0 | 998683.9536 | 18446.003
14 | 1.4 | 7.0869 | 2.4989e-06 | 15.5856 | 1.8637e-06 | 3.48 | 23.0034 | 12.5757 | 30 | 60.0698 | 25.1253 | 117.2174 | 43.3292 | 2.7911e-06 | 6.135e-07 | 1.1321e-06 | 1.4698e-06 | 0 | 0 | 998683.9636 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.4989e-06 | 15.5856 | 1.8637e-06 | 3.48 | 23.0034 | 12.5757 | 30 | 60.0698 | 25.1253 | 117.2174 | 43.3292 | 2.7911e-06 | 6.135e-07 | 1.1321e-06 | 1.4698e-06 | 0 | 0 | 998683.9636 | 18446.003
15 | 1.5 | 7.0869 | 7.9544e-07 | 15.5857 | 5.5284e-07 | 3.48 | 23.0036 | 12.5758 | 30 | 60.0698 | 25.1253 | 117.2177 | 43.3288 | 8.5579e-07 | 2.4067e-07 | 2.2981e-07 | 4.3593e-07 | 0 | 0 | 998683.9673 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 7.9544e-07 | 15.5857 | 5.5284e-07 | 3.48 | 23.0036 | 12.5758 | 30 | 60.0698 | 25.1253 | 117.2177 | 43.3288 | 8.5579e-07 | 2.4067e-07 | 2.2981e-07 | 4.3593e-07 | 0 | 0 | 998683.9673 | 18446.003
16 | 1.6 | 7.0869 | 1.8595e-07 | 15.5857 | 9.0006e-08 | 3.48 | 23.0037 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3287 | 1.4505e-07 | 5.0681e-09 | 7.0685e-08 | 6.8712e-08 | 0 | 0 | 998683.9686 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.8595e-07 | 15.5857 | 9.0006e-08 | 3.48 | 23.0037 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3287 | 1.4505e-07 | 5.0681e-09 | 7.0685e-08 | 6.8712e-08 | 0 | 0 | 998683.9686 | 18446.003
17 | 1.7 | 7.0869 | -6.5466e-09 | 15.5857 | -3.8634e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1218e-08 | -1.3453e-07 | 2.6279e-07 | -3.2253e-08 | 0 | 0 | 998683.9689 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -6.5466e-09 | 15.5857 | -3.8634e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1218e-08 | -1.3453e-07 | 2.6279e-07 | -3.2253e-08 | 0 | 0 | 998683.9689 | 18446.003
18 | 1.8 | 7.0869 | -1.7131e-07 | 15.5857 | -1.4696e-07 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.1704e-07 | -2.4692e-07 | 4.1184e-07 | -1.1718e-07 | 0 | 0 | 998683.9692 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -1.7131e-07 | 15.5857 | -1.4696e-07 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.1704e-07 | -2.4692e-07 | 4.1184e-07 | -1.1718e-07 | 0 | 0 | 998683.9692 | 18446.003
19 | 1.9 | 7.0869 | -1.0723e-07 | 15.5857 | -8.7734e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.3163e-07 | -1.3487e-07 | 2.0564e-07 | -6.9831e-08 | 0 | 0 | 998683.969 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -1.0723e-07 | 15.5857 | -8.7734e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.3163e-07 | -1.3487e-07 | 2.0564e-07 | -6.9831e-08 | 0 | 0 | 998683.969 | 18446.003
20 | 2 | 7.0869 | -4.3251e-08 | 15.5857 | -2.8606e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.6367e-08 | -2.3112e-08 | 6.3191e-11 | -2.2559e-08 | 0 | 0 | 998683.9688 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -4.3251e-08 | 15.5857 | -2.8606e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.6367e-08 | -2.3112e-08 | 6.3191e-11 | -2.2559e-08 | 0 | 0 | 998683.9688 | 18446.003
21 | 2.1 | 7.0869 | -1.0533e-08 | 15.5857 | -4.1198e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -8.3088e-09 | -1.0459e-08 | 8.6008e-09 | -3.1783e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -1.0533e-08 | 15.5857 | -4.1198e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -8.3088e-09 | -1.0459e-08 | 8.6008e-09 | -3.1783e-09 | 0 | 0 | 998683.9687 | 18446.003
22 | 2.2 | 7.0869 | 2.2184e-08 | 15.5857 | 2.0366e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.975e-08 | 2.194e-09 | 1.7138e-08 | 1.6203e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.2184e-08 | 15.5857 | 2.0366e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.975e-08 | 2.194e-09 | 1.7138e-08 | 1.6203e-08 | 0 | 0 | 998683.9687 | 18446.003
23 | 2.3 | 7.0869 | 2.441e-08 | 15.5857 | 2.1814e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.2084e-08 | 2.4572e-09 | 1.7174e-08 | 1.7343e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.441e-08 | 15.5857 | 2.1814e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.2084e-08 | 2.4572e-09 | 1.7174e-08 | 1.7343e-08 | 0 | 0 | 998683.9687 | 18446.003
24 | 2.4 | 7.0869 | 2.3165e-08 | 15.5857 | 2.064e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.0353e-08 | 1.3103e-09 | 1.6241e-08 | 1.6408e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.3165e-08 | 15.5857 | 2.064e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.0353e-08 | 1.3103e-09 | 1.6241e-08 | 1.6408e-08 | 0 | 0 | 998683.9687 | 18446.003
25 | 2.5 | 7.0869 | 2.192e-08 | 15.5857 | 1.9466e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.8621e-08 | 1.6334e-10 | 1.5308e-08 | 1.5473e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.192e-08 | 15.5857 | 1.9466e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.8621e-08 | 1.6334e-10 | 1.5308e-08 | 1.5473e-08 | 0 | 0 | 998683.9687 | 18446.003
26 | 2.6 | 7.0869 | 2.0675e-08 | 15.5857 | 1.8293e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.689e-08 | -9.8357e-10 | 1.4376e-08 | 1.4538e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.0675e-08 | 15.5857 | 1.8293e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.689e-08 | -9.8357e-10 | 1.4376e-08 | 1.4538e-08 | 0 | 0 | 998683.9687 | 18446.003
27 | 2.7 | 7.0869 | 1.9431e-08 | 15.5857 | 1.7119e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.5159e-08 | -2.1305e-09 | 1.3443e-08 | 1.3603e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.9431e-08 | 15.5857 | 1.7119e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.5159e-08 | -2.1305e-09 | 1.3443e-08 | 1.3603e-08 | 0 | 0 | 998683.9687 | 18446.003
28 | 2.8 | 7.0869 | 1.8186e-08 | 15.5857 | 1.5945e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.3427e-08 | -3.2774e-09 | 1.251e-08 | 1.2667e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.8186e-08 | 15.5857 | 1.5945e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.3427e-08 | -3.2774e-09 | 1.251e-08 | 1.2667e-08 | 0 | 0 | 998683.9687 | 18446.003
29 | 2.9 | 7.0869 | 1.6941e-08 | 15.5857 | 1.4771e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.1696e-08 | -4.4243e-09 | 1.1578e-08 | 1.1732e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.6941e-08 | 15.5857 | 1.4771e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.1696e-08 | -4.4243e-09 | 1.1578e-08 | 1.1732e-08 | 0 | 0 | 998683.9687 | 18446.003
30 | 3 | 7.0869 | 1.5696e-08 | 15.5857 | 1.3597e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.9964e-08 | -5.5712e-09 | 1.0645e-08 | 1.0797e-08 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.5696e-08 | 15.5857 | 1.3597e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.9964e-08 | -5.5712e-09 | 1.0645e-08 | 1.0797e-08 | 0 | 0 | 998683.9687 | 18446.003
31 | 3.1 | 7.0869 | 1.4451e-08 | 15.5857 | 1.2423e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.8233e-08 | -6.7181e-09 | 9.7126e-09 | 9.8619e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.4451e-08 | 15.5857 | 1.2423e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.8233e-08 | -6.7181e-09 | 9.7126e-09 | 9.8619e-09 | 0 | 0 | 998683.9687 | 18446.003
32 | 3.2 | 7.0869 | 1.3207e-08 | 15.5857 | 1.1249e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.6501e-08 | -7.8651e-09 | 8.78e-09 | 8.9267e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.3207e-08 | 15.5857 | 1.1249e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.6501e-08 | -7.8651e-09 | 8.78e-09 | 8.9267e-09 | 0 | 0 | 998683.9687 | 18446.003
33 | 3.3 | 7.0869 | 1.1962e-08 | 15.5857 | 1.0076e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.477e-08 | -9.012e-09 | 7.8474e-09 | 7.9915e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.1962e-08 | 15.5857 | 1.0076e-08 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.477e-08 | -9.012e-09 | 7.8474e-09 | 7.9915e-09 | 0 | 0 | 998683.9687 | 18446.003
34 | 3.4 | 7.0869 | 1.0717e-08 | 15.5857 | 8.9018e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3039e-08 | -1.0159e-08 | 6.9148e-09 | 7.0563e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.0717e-08 | 15.5857 | 8.9018e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3039e-08 | -1.0159e-08 | 6.9148e-09 | 7.0563e-09 | 0 | 0 | 998683.9687 | 18446.003
35 | 3.5 | 7.0869 | 9.4722e-09 | 15.5857 | 7.7279e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1307e-08 | -1.1306e-08 | 5.9821e-09 | 6.1211e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 9.4722e-09 | 15.5857 | 7.7279e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1307e-08 | -1.1306e-08 | 5.9821e-09 | 6.1211e-09 | 0 | 0 | 998683.9687 | 18446.003
36 | 3.6 | 7.0869 | 8.2274e-09 | 15.5857 | 6.5541e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.5757e-09 | -1.2453e-08 | 5.0495e-09 | 5.1859e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 8.2274e-09 | 15.5857 | 6.5541e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.5757e-09 | -1.2453e-08 | 5.0495e-09 | 5.1859e-09 | 0 | 0 | 998683.9687 | 18446.003
37 | 3.7 | 7.0869 | 6.9826e-09 | 15.5857 | 5.3802e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.8443e-09 | -1.36e-08 | 4.1169e-09 | 4.2507e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 6.9826e-09 | 15.5857 | 5.3802e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.8443e-09 | -1.36e-08 | 4.1169e-09 | 4.2507e-09 | 0 | 0 | 998683.9687 | 18446.003
38 | 3.8 | 7.0869 | 5.9629e-09 | 15.5857 | 4.4374e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.4553e-09 | -1.4209e-08 | 3.3702e-09 | 3.5001e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.9629e-09 | 15.5857 | 4.4374e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.4553e-09 | -1.4209e-08 | 3.3702e-09 | 3.5001e-09 | 0 | 0 | 998683.9687 | 18446.003
39 | 3.9 | 7.0869 | 5.5862e-09 | 15.5857 | 4.1547e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.0448e-09 | -1.3284e-08 | 3.1545e-09 | 3.277e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.5862e-09 | 15.5857 | 4.1547e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.0448e-09 | -1.3284e-08 | 3.1545e-09 | 3.277e-09 | 0 | 0 | 998683.9687 | 18446.003
40 | 4 | 7.0869 | 5.2094e-09 | 15.5857 | 3.872e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.6343e-09 | -1.2359e-08 | 2.9389e-09 | 3.0539e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.2094e-09 | 15.5857 | 3.872e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.6343e-09 | -1.2359e-08 | 2.9389e-09 | 3.0539e-09 | 0 | 0 | 998683.9687 | 18446.003
41 | 4.1 | 7.0869 | 4.8326e-09 | 15.5857 | 3.5892e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.2238e-09 | -1.1433e-08 | 2.7233e-09 | 2.8309e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 4.8326e-09 | 15.5857 | 3.5892e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.2238e-09 | -1.1433e-08 | 2.7233e-09 | 2.8309e-09 | 0 | 0 | 998683.9687 | 18446.003
42 | 4.2 | 7.0869 | 4.4559e-09 | 15.5857 | 3.3065e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.8132e-09 | -1.0508e-08 | 2.5076e-09 | 2.6078e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 4.4559e-09 | 15.5857 | 3.3065e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.8132e-09 | -1.0508e-08 | 2.5076e-09 | 2.6078e-09 | 0 | 0 | 998683.9687 | 18446.003
43 | 4.3 | 7.0869 | 4.0791e-09 | 15.5857 | 3.0238e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.4027e-09 | -9.5827e-09 | 2.292e-09 | 2.3847e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 4.0791e-09 | 15.5857 | 3.0238e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.4027e-09 | -9.5827e-09 | 2.292e-09 | 2.3847e-09 | 0 | 0 | 998683.9687 | 18446.003
44 | 4.4 | 7.0869 | 3.7024e-09 | 15.5857 | 2.7411e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.9922e-09 | -8.6574e-09 | 2.0764e-09 | 2.1616e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 3.7024e-09 | 15.5857 | 2.7411e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.9922e-09 | -8.6574e-09 | 2.0764e-09 | 2.1616e-09 | 0 | 0 | 998683.9687 | 18446.003
45 | 4.5 | 7.0869 | 3.3256e-09 | 15.5857 | 2.4583e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.5817e-09 | -7.7321e-09 | 1.8607e-09 | 1.9385e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 3.3256e-09 | 15.5857 | 2.4583e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.5817e-09 | -7.7321e-09 | 1.8607e-09 | 1.9385e-09 | 0 | 0 | 998683.9687 | 18446.003
46 | 4.6 | 7.0869 | 2.9489e-09 | 15.5857 | 2.1756e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.1712e-09 | -6.8068e-09 | 1.6451e-09 | 1.7154e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.9489e-09 | 15.5857 | 2.1756e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.1712e-09 | -6.8068e-09 | 1.6451e-09 | 1.7154e-09 | 0 | 0 | 998683.9687 | 18446.003
47 | 4.7 | 7.0869 | 2.5721e-09 | 15.5857 | 1.8929e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.7607e-09 | -5.8815e-09 | 1.4295e-09 | 1.4924e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.5721e-09 | 15.5857 | 1.8929e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.7607e-09 | -5.8815e-09 | 1.4295e-09 | 1.4924e-09 | 0 | 0 | 998683.9687 | 18446.003
48 | 4.8 | 7.0869 | 2.1954e-09 | 15.5857 | 1.6101e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.3501e-09 | -4.9561e-09 | 1.2138e-09 | 1.2693e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.1954e-09 | 15.5857 | 1.6101e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.3501e-09 | -4.9561e-09 | 1.2138e-09 | 1.2693e-09 | 0 | 0 | 998683.9687 | 18446.003
49 | 4.9 | 7.0869 | 1.8186e-09 | 15.5857 | 1.3274e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.9396e-09 | -4.0308e-09 | 9.9821e-10 | 1.0462e-09 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.8186e-09 | 15.5857 | 1.3274e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.9396e-09 | -4.0308e-09 | 9.9821e-10 | 1.0462e-09 | 0 | 0 | 998683.9687 | 18446.003
50 | 5 | 7.0869 | 1.4419e-09 | 15.5857 | 1.0447e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.5291e-09 | -3.1055e-09 | 7.8258e-10 | 8.2311e-10 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.4419e-09 | 15.5857 | 1.0447e-09 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.5291e-09 | -3.1055e-09 | 7.8258e-10 | 8.2311e-10 | 0 | 0 | 998683.9687 | 18446.003
51 | 5.1 | 7.0869 | 1.0651e-09 | 15.5857 | 7.6195e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1186e-09 | -2.1802e-09 | 5.6695e-10 | 6.0002e-10 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.0651e-09 | 15.5857 | 7.6195e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1186e-09 | -2.1802e-09 | 5.6695e-10 | 6.0002e-10 | 0 | 0 | 998683.9687 | 18446.003
52 | 5.2 | 7.0869 | 6.8837e-10 | 15.5857 | 4.7922e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.0807e-10 | -1.2549e-09 | 3.5131e-10 | 3.7694e-10 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 6.8837e-10 | 15.5857 | 4.7922e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.0807e-10 | -1.2549e-09 | 3.5131e-10 | 3.7694e-10 | 0 | 0 | 998683.9687 | 18446.003
53 | 5.3 | 7.0869 | 3.1162e-10 | 15.5857 | 1.9649e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.9756e-10 | -3.2956e-10 | 1.3568e-10 | 1.5385e-10 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 3.1162e-10 | 15.5857 | 1.9649e-10 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.9756e-10 | -3.2956e-10 | 1.3568e-10 | 1.5385e-10 | 0 | 0 | 998683.9687 | 18446.003
54 | 5.4 | 7.0869 | 1.6579e-10 | 15.5857 | 8.7571e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3922e-10 | 2.1019e-11 | 5.2876e-11 | 6.7926e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.6579e-10 | 15.5857 | 8.7571e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3922e-10 | 2.1019e-11 | 5.2876e-11 | 6.7926e-11 | 0 | 0 | 998683.9687 | 18446.003
55 | 5.5 | 7.0869 | 1.6107e-10 | 15.5857 | 8.4854e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3497e-10 | 2.041e-11 | 5.124e-11 | 6.5811e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.6107e-10 | 15.5857 | 8.4854e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3497e-10 | 2.041e-11 | 5.124e-11 | 6.5811e-11 | 0 | 0 | 998683.9687 | 18446.003
56 | 5.6 | 7.0869 | 1.5635e-10 | 15.5857 | 8.2137e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3072e-10 | 1.9801e-11 | 4.9604e-11 | 6.3695e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.5635e-10 | 15.5857 | 8.2137e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.3072e-10 | 1.9801e-11 | 4.9604e-11 | 6.3695e-11 | 0 | 0 | 998683.9687 | 18446.003
57 | 5.7 | 7.0869 | 1.5162e-10 | 15.5857 | 7.9419e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.2648e-10 | 1.9192e-11 | 4.7969e-11 | 6.158e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.5162e-10 | 15.5857 | 7.9419e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.2648e-10 | 1.9192e-11 | 4.7969e-11 | 6.158e-11 | 0 | 0 | 998683.9687 | 18446.003
58 | 5.8 | 7.0869 | 1.469e-10 | 15.5857 | 7.6702e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.2223e-10 | 1.8583e-11 | 4.6333e-11 | 5.9464e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.469e-10 | 15.5857 | 7.6702e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.2223e-10 | 1.8583e-11 | 4.6333e-11 | 5.9464e-11 | 0 | 0 | 998683.9687 | 18446.003
59 | 5.9 | 7.0869 | 1.4218e-10 | 15.5857 | 7.3985e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1798e-10 | 1.7974e-11 | 4.4697e-11 | 5.7349e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.4218e-10 | 15.5857 | 7.3985e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1798e-10 | 1.7974e-11 | 4.4697e-11 | 5.7349e-11 | 0 | 0 | 998683.9687 | 18446.003
60 | 6 | 7.0869 | 1.3746e-10 | 15.5857 | 7.1268e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1374e-10 | 1.7364e-11 | 4.3061e-11 | 5.5233e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.3746e-10 | 15.5857 | 7.1268e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.1374e-10 | 1.7364e-11 | 4.3061e-11 | 5.5233e-11 | 0 | 0 | 998683.9687 | 18446.003
61 | 6.1 | 7.0869 | 1.3274e-10 | 15.5857 | 6.855e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.0949e-10 | 1.6755e-11 | 4.1425e-11 | 5.3118e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.3274e-10 | 15.5857 | 6.855e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.0949e-10 | 1.6755e-11 | 4.1425e-11 | 5.3118e-11 | 0 | 0 | 998683.9687 | 18446.003
62 | 6.2 | 7.0869 | 1.2801e-10 | 15.5857 | 6.5833e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.0524e-10 | 1.6146e-11 | 3.9789e-11 | 5.1003e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.2801e-10 | 15.5857 | 6.5833e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.0524e-10 | 1.6146e-11 | 3.9789e-11 | 5.1003e-11 | 0 | 0 | 998683.9687 | 18446.003
63 | 6.3 | 7.0869 | 1.2329e-10 | 15.5857 | 6.3116e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.01e-10 | 1.5537e-11 | 3.8153e-11 | 4.8887e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.2329e-10 | 15.5857 | 6.3116e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.01e-10 | 1.5537e-11 | 3.8153e-11 | 4.8887e-11 | 0 | 0 | 998683.9687 | 18446.003
64 | 6.4 | 7.0869 | 1.1857e-10 | 15.5857 | 6.0398e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.6751e-11 | 1.4928e-11 | 3.6517e-11 | 4.6772e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.1857e-10 | 15.5857 | 6.0398e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.6751e-11 | 1.4928e-11 | 3.6517e-11 | 4.6772e-11 | 0 | 0 | 998683.9687 | 18446.003
65 | 6.5 | 7.0869 | 1.1385e-10 | 15.5857 | 5.7681e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.2505e-11 | 1.4319e-11 | 3.4881e-11 | 4.4656e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.1385e-10 | 15.5857 | 5.7681e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 9.2505e-11 | 1.4319e-11 | 3.4881e-11 | 4.4656e-11 | 0 | 0 | 998683.9687 | 18446.003
66 | 6.6 | 7.0869 | 1.0913e-10 | 15.5857 | 5.4964e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 8.8258e-11 | 1.371e-11 | 3.3245e-11 | 4.2541e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.0913e-10 | 15.5857 | 5.4964e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 8.8258e-11 | 1.371e-11 | 3.3245e-11 | 4.2541e-11 | 0 | 0 | 998683.9687 | 18446.003
67 | 6.7 | 7.0869 | 1.044e-10 | 15.5857 | 5.2247e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 8.4012e-11 | 1.3101e-11 | 3.1609e-11 | 4.0425e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.044e-10 | 15.5857 | 5.2247e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 8.4012e-11 | 1.3101e-11 | 3.1609e-11 | 4.0425e-11 | 0 | 0 | 998683.9687 | 18446.003
68 | 6.8 | 7.0869 | 9.9683e-11 | 15.5857 | 4.9529e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.9765e-11 | 1.2492e-11 | 2.9973e-11 | 3.831e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 9.9683e-11 | 15.5857 | 4.9529e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.9765e-11 | 1.2492e-11 | 2.9973e-11 | 3.831e-11 | 0 | 0 | 998683.9687 | 18446.003
69 | 6.9 | 7.0869 | 9.4961e-11 | 15.5857 | 4.6812e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.5518e-11 | 1.1883e-11 | 2.8337e-11 | 3.6194e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 9.4961e-11 | 15.5857 | 4.6812e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.5518e-11 | 1.1883e-11 | 2.8337e-11 | 3.6194e-11 | 0 | 0 | 998683.9687 | 18446.003
70 | 7 | 7.0869 | 9.0239e-11 | 15.5857 | 4.4095e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.1272e-11 | 1.1273e-11 | 2.6701e-11 | 3.4079e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 9.0239e-11 | 15.5857 | 4.4095e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.1272e-11 | 1.1273e-11 | 2.6701e-11 | 3.4079e-11 | 0 | 0 | 998683.9687 | 18446.003
71 | 7.1 | 7.0869 | 8.5518e-11 | 15.5857 | 4.1378e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.7025e-11 | 1.0664e-11 | 2.5065e-11 | 3.1964e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 8.5518e-11 | 15.5857 | 4.1378e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.7025e-11 | 1.0664e-11 | 2.5065e-11 | 3.1964e-11 | 0 | 0 | 998683.9687 | 18446.003
72 | 7.2 | 7.0869 | 8.0796e-11 | 15.5857 | 3.866e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.2779e-11 | 1.0055e-11 | 2.343e-11 | 2.9848e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 8.0796e-11 | 15.5857 | 3.866e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 6.2779e-11 | 1.0055e-11 | 2.343e-11 | 2.9848e-11 | 0 | 0 | 998683.9687 | 18446.003
73 | 7.3 | 7.0869 | 7.6074e-11 | 15.5857 | 3.5943e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.8532e-11 | 9.4462e-12 | 2.1794e-11 | 2.7733e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 7.6074e-11 | 15.5857 | 3.5943e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.8532e-11 | 9.4462e-12 | 2.1794e-11 | 2.7733e-11 | 0 | 0 | 998683.9687 | 18446.003
74 | 7.4 | 7.0869 | 7.1352e-11 | 15.5857 | 3.3226e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.4286e-11 | 8.8371e-12 | 2.0158e-11 | 2.5617e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 7.1352e-11 | 15.5857 | 3.3226e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.4286e-11 | 8.8371e-12 | 2.0158e-11 | 2.5617e-11 | 0 | 0 | 998683.9687 | 18446.003
75 | 7.5 | 7.0869 | 6.663e-11 | 15.5857 | 3.0509e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.0039e-11 | 8.228e-12 | 1.8522e-11 | 2.3502e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 6.663e-11 | 15.5857 | 3.0509e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 5.0039e-11 | 8.228e-12 | 1.8522e-11 | 2.3502e-11 | 0 | 0 | 998683.9687 | 18446.003
76 | 7.6 | 7.0869 | 6.1908e-11 | 15.5857 | 2.7791e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.5793e-11 | 7.6189e-12 | 1.6886e-11 | 2.1386e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 6.1908e-11 | 15.5857 | 2.7791e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.5793e-11 | 7.6189e-12 | 1.6886e-11 | 2.1386e-11 | 0 | 0 | 998683.9687 | 18446.003
77 | 7.7 | 7.0869 | 5.7186e-11 | 15.5857 | 2.5074e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.1546e-11 | 7.0098e-12 | 1.525e-11 | 1.9271e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.7186e-11 | 15.5857 | 2.5074e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 4.1546e-11 | 7.0098e-12 | 1.525e-11 | 1.9271e-11 | 0 | 0 | 998683.9687 | 18446.003
78 | 7.8 | 7.0869 | 5.2465e-11 | 15.5857 | 2.2357e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.7299e-11 | 6.4007e-12 | 1.3614e-11 | 1.7155e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.2465e-11 | 15.5857 | 2.2357e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.7299e-11 | 6.4007e-12 | 1.3614e-11 | 1.7155e-11 | 0 | 0 | 998683.9687 | 18446.003
79 | 7.9 | 7.0869 | 4.7743e-11 | 15.5857 | 1.964e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.3053e-11 | 5.7916e-12 | 1.1978e-11 | 1.504e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 4.7743e-11 | 15.5857 | 1.964e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.3053e-11 | 5.7916e-12 | 1.1978e-11 | 1.504e-11 | 0 | 0 | 998683.9687 | 18446.003
80 | 8 | 7.0869 | 4.3021e-11 | 15.5857 | 1.6922e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.8806e-11 | 5.1825e-12 | 1.0342e-11 | 1.2925e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 4.3021e-11 | 15.5857 | 1.6922e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.8806e-11 | 5.1825e-12 | 1.0342e-11 | 1.2925e-11 | 0 | 0 | 998683.9687 | 18446.003
81 | 8.1 | 7.0869 | 3.8299e-11 | 15.5857 | 1.4205e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.456e-11 | 4.5734e-12 | 8.7061e-12 | 1.0809e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 3.8299e-11 | 15.5857 | 1.4205e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.456e-11 | 4.5734e-12 | 8.7061e-12 | 1.0809e-11 | 0 | 0 | 998683.9687 | 18446.003
82 | 8.2 | 7.0869 | 3.3577e-11 | 15.5857 | 1.1488e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.0313e-11 | 3.9643e-12 | 7.0702e-12 | 8.6936e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 3.3577e-11 | 15.5857 | 1.1488e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 2.0313e-11 | 3.9643e-12 | 7.0702e-12 | 8.6936e-12 | 0 | 0 | 998683.9687 | 18446.003
83 | 8.3 | 7.0869 | 2.8855e-11 | 15.5857 | 8.7706e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.6067e-11 | 3.3552e-12 | 5.4343e-12 | 6.5782e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.8855e-11 | 15.5857 | 8.7706e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.6067e-11 | 3.3552e-12 | 5.4343e-12 | 6.5782e-12 | 0 | 0 | 998683.9687 | 18446.003
84 | 8.4 | 7.0869 | 2.4134e-11 | 15.5857 | 6.0533e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.182e-11 | 2.7461e-12 | 3.7983e-12 | 4.4627e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 2.4134e-11 | 15.5857 | 6.0533e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 1.182e-11 | 2.7461e-12 | 3.7983e-12 | 4.4627e-12 | 0 | 0 | 998683.9687 | 18446.003
85 | 8.5 | 7.0869 | 1.9412e-11 | 15.5857 | 3.3361e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.5736e-12 | 2.137e-12 | 2.1624e-12 | 2.3473e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.9412e-11 | 15.5857 | 3.3361e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 7.5736e-12 | 2.137e-12 | 2.1624e-12 | 2.3473e-12 | 0 | 0 | 998683.9687 | 18446.003
86 | 8.6 | 7.0869 | 1.469e-11 | 15.5857 | 6.1881e-13 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.327e-12 | 1.5279e-12 | 5.2646e-13 | 2.3183e-13 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 1.469e-11 | 15.5857 | 6.1881e-13 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | 3.327e-12 | 1.5279e-12 | 5.2646e-13 | 2.3183e-13 | 0 | 0 | 998683.9687 | 18446.003
87 | 8.7 | 7.0869 | 9.968e-12 | 15.5857 | -2.0984e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -9.1954e-13 | 9.188e-13 | -1.1095e-12 | -1.8836e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 9.968e-12 | 15.5857 | -2.0984e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -9.1954e-13 | 9.188e-13 | -1.1095e-12 | -1.8836e-12 | 0 | 0 | 998683.9687 | 18446.003
88 | 8.8 | 7.0869 | 5.2462e-12 | 15.5857 | -4.8157e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1661e-12 | 3.0971e-13 | -2.7454e-12 | -3.9991e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.2462e-12 | 15.5857 | -4.8157e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1661e-12 | 3.0971e-13 | -2.7454e-12 | -3.9991e-12 | 0 | 0 | 998683.9687 | 18446.003
89 | 8.9 | 7.0869 | 5.2431e-13 | 15.5857 | -7.533e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -9.4127e-12 | -2.9939e-13 | -4.3813e-12 | -6.1145e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | 5.2431e-13 | 15.5857 | -7.533e-12 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -9.4127e-12 | -2.9939e-13 | -4.3813e-12 | -6.1145e-12 | 0 | 0 | 998683.9687 | 18446.003
90 | 9 | 7.0869 | -4.1975e-12 | 15.5857 | -1.025e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.3659e-11 | -9.0849e-13 | -6.0173e-12 | -8.23e-12 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -4.1975e-12 | 15.5857 | -1.025e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.3659e-11 | -9.0849e-13 | -6.0173e-12 | -8.23e-12 | 0 | 0 | 998683.9687 | 18446.003
91 | 9.1 | 7.0869 | -8.9194e-12 | 15.5857 | -1.2967e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.7906e-11 | -1.5176e-12 | -7.6532e-12 | -1.0345e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -8.9194e-12 | 15.5857 | -1.2967e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -1.7906e-11 | -1.5176e-12 | -7.6532e-12 | -1.0345e-11 | 0 | 0 | 998683.9687 | 18446.003
92 | 9.2 | 7.0869 | -1.3641e-11 | 15.5857 | -1.5685e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.2152e-11 | -2.1267e-12 | -9.2891e-12 | -1.2461e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -1.3641e-11 | 15.5857 | -1.5685e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.2152e-11 | -2.1267e-12 | -9.2891e-12 | -1.2461e-11 | 0 | 0 | 998683.9687 | 18446.003
93 | 9.3 | 7.0869 | -1.8363e-11 | 15.5857 | -1.8402e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.6399e-11 | -2.7358e-12 | -1.0925e-11 | -1.4576e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -1.8363e-11 | 15.5857 | -1.8402e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -2.6399e-11 | -2.7358e-12 | -1.0925e-11 | -1.4576e-11 | 0 | 0 | 998683.9687 | 18446.003
94 | 9.4 | 7.0869 | -2.3085e-11 | 15.5857 | -2.1119e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.0645e-11 | -3.3449e-12 | -1.2561e-11 | -1.6692e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -2.3085e-11 | 15.5857 | -2.1119e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.0645e-11 | -3.3449e-12 | -1.2561e-11 | -1.6692e-11 | 0 | 0 | 998683.9687 | 18446.003
95 | 9.5 | 7.0869 | -2.7807e-11 | 15.5857 | -2.3837e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.4892e-11 | -3.954e-12 | -1.4197e-11 | -1.8807e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -2.7807e-11 | 15.5857 | -2.3837e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.4892e-11 | -3.954e-12 | -1.4197e-11 | -1.8807e-11 | 0 | 0 | 998683.9687 | 18446.003
96 | 9.6 | 7.0869 | -3.2529e-11 | 15.5857 | -2.6554e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.9139e-11 | -4.5631e-12 | -1.5833e-11 | -2.0923e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -3.2529e-11 | 15.5857 | -2.6554e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -3.9139e-11 | -4.5631e-12 | -1.5833e-11 | -2.0923e-11 | 0 | 0 | 998683.9687 | 18446.003
97 | 9.7 | 7.0869 | -3.725e-11 | 15.5857 | -2.9271e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.3385e-11 | -5.1722e-12 | -1.7469e-11 | -2.3038e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -3.725e-11 | 15.5857 | -2.9271e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.3385e-11 | -5.1722e-12 | -1.7469e-11 | -2.3038e-11 | 0 | 0 | 998683.9687 | 18446.003
98 | 9.8 | 7.0869 | -4.1972e-11 | 15.5857 | -3.1988e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.7632e-11 | -5.7813e-12 | -1.9105e-11 | -2.5154e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -4.1972e-11 | 15.5857 | -3.1988e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -4.7632e-11 | -5.7813e-12 | -1.9105e-11 | -2.5154e-11 | 0 | 0 | 998683.9687 | 18446.003
99 | 9.9 | 7.0869 | -4.6694e-11 | 15.5857 | -3.4706e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1878e-11 | -6.3904e-12 | -2.0741e-11 | -2.7269e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -4.6694e-11 | 15.5857 | -3.4706e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.1878e-11 | -6.3904e-12 | -2.0741e-11 | -2.7269e-11 | 0 | 0 | 998683.9687 | 18446.003
100 | 10 | 7.0869 | -5.1416e-11 | 15.5857 | -3.7423e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.6125e-11 | -6.9995e-12 | -2.2377e-11 | -2.9384e-11 | 0 | 0 | 998683.9687 | 18446.003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 7.0869 | -5.1416e-11 | 15.5857 | -3.7423e-11 | 3.48 | 23.0038 | 12.5759 | 30 | 60.0698 | 25.1252 | 117.2178 | 43.3286 | -5.6125e-11 | -6.9995e-12 | -2.2377e-11 | -2.9384e-11 | 0 | 0 | 998683.9687 | 18446.003