## Sheet1
ID | - | CSTR | [19 empty] | influent | [19 empty] | effluent
variable | t [d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d] | S_O2 [mg/L] | S_N2 [mg/L] | S_NH4 [mg/L] | S_NO3 [mg/L] | S_PO4 [mg/L] | S_F [mg/L] | S_A [mg/L] | S_I [mg/L] | S_ALK [mg/L] | X_I [mg/L] | X_S [mg/L] | X_H [mg/L] | X_PAO [mg/L] | X_PP [mg/L] | X_PHA [mg/L] | X_AUT [mg/L] | X_MeOH [mg/L] | X_MeP [mg/L] | H2O [mg/L] | Q [m3/d]
0 | 0 | 2 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 4.0307e-05 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 21 | 22 | 0.001 | 11 | 2 | 5 | 30 | 72 | 1800 | 150 | 1900 | 250 | 70 | 7 | 125 | 0 | 0 | 4.0307e-05 | 18446.0003
1 | 0.1 | 2 | 6.2428 | 7.978 | 7.8302 | 4.2941 | 2.2213 | 0.8228 | 30 | 51.3433 | 472.6754 | 78.9625 | 545.5014 | 63.466 | 18.4698 | 0.22323 | 33.0025 | 0 | 0 | 748036.9316 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.2428 | 7.978 | 7.8302 | 4.2941 | 2.2213 | 0.8228 | 30 | 51.3433 | 472.6754 | 78.9625 | 545.5014 | 63.466 | 18.4698 | 0.22323 | 33.0025 | 0 | 0 | 748036.9316 | 18446.0003
2 | 0.2 | 2 | 2.1348 | 10.9789 | 3.7008 | 3.5211 | 5.997 | 2.5596 | 30 | 56.2668 | 139.0107 | 86.5791 | 192.4223 | 16.3546 | 4.7087 | 0.20431 | 8.7742 | 0 | 0 | 935229.153 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.1348 | 10.9789 | 3.7008 | 3.5211 | 5.997 | 2.5596 | 30 | 56.2668 | 139.0107 | 86.5791 | 192.4223 | 16.3546 | 4.7087 | 0.20431 | 8.7742 | 0 | 0 | 935229.153 | 18446.0003
3 | 0.3 | 2 | 0.83289 | 13.5462 | 1.2493 | 3.3922 | 12.0482 | 5.8219 | 30 | 59.704 | 53.5694 | 101.1744 | 91.4297 | 4.2426 | 1.1883 | 0.15793 | 2.2954 | 0 | 0 | 982937.0961 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.83289 | 13.5462 | 1.2493 | 3.3922 | 12.0482 | 5.8219 | 30 | 59.704 | 53.5694 | 101.1744 | 91.4297 | 4.2426 | 1.1883 | 0.15793 | 2.2954 | 0 | 0 | 982937.0961 | 18446.0003
4 | 0.4 | 2 | 0.34596 | 14.8041 | 0.34386 | 3.4228 | 17.6374 | 9.2183 | 30 | 60.8284 | 32.3247 | 110.3141 | 59.5197 | 1.1282 | 0.30357 | 0.087747 | 0.60745 | 0 | 0 | 994731.1136 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.34596 | 14.8041 | 0.34386 | 3.4228 | 17.6374 | 9.2183 | 30 | 60.8284 | 32.3247 | 110.3141 | 59.5197 | 1.1282 | 0.30357 | 0.087747 | 0.60745 | 0 | 0 | 994731.1136 | 18446.0003
5 | 0.5 | 2 | 0.13387 | 15.3281 | 0.083867 | 3.459 | 20.9365 | 11.5132 | 30 | 61.0314 | 26.9527 | 114.6903 | 48.3651 | 0.30152 | 0.07781 | 0.03768 | 0.16089 | 0 | 0 | 997691.1485 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.13387 | 15.3281 | 0.083867 | 3.459 | 20.9365 | 11.5132 | 30 | 61.0314 | 26.9527 | 114.6903 | 48.3651 | 0.30152 | 0.07781 | 0.03768 | 0.16089 | 0 | 0 | 997691.1485 | 18446.0003
6 | 0.6 | 2 | 0.04597 | 15.5269 | 0.020001 | 3.4791 | 22.496 | 12.6677 | 30 | 61.0244 | 25.5843 | 116.5641 | 44.3392 | 0.079916 | 0.019846 | 0.013863 | 0.042188 | 0 | 0 | 998437.3792 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.04597 | 15.5269 | 0.020001 | 3.4791 | 22.496 | 12.6677 | 30 | 61.0244 | 25.5843 | 116.5641 | 44.3392 | 0.079916 | 0.019846 | 0.013863 | 0.042188 | 0 | 0 | 998437.3792 | 18446.0003
7 | 0.7 | 2 | 0.014612 | 15.5968 | 0.0049802 | 3.4878 | 23.1473 | 13.1523 | 30 | 61.0004 | 25.2401 | 117.3091 | 42.9045 | 0.021327 | 0.0051377 | 0.0046508 | 0.011129 | 0 | 0 | 998622.311 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.014612 | 15.5968 | 0.0049802 | 3.4878 | 23.1473 | 13.1523 | 30 | 61.0004 | 25.2401 | 117.3091 | 42.9045 | 0.021327 | 0.0051377 | 0.0046508 | 0.011129 | 0 | 0 | 998622.311 | 18446.0003
8 | 0.8 | 2 | 0.0044689 | 15.6204 | 0.0012877 | 3.4912 | 23.4004 | 13.3376 | 30 | 60.9869 | 25.1526 | 117.5934 | 42.3976 | 0.0057458 | 0.0013531 | 0.0014804 | 0.0029625 | 0 | 0 | 998668.3927 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.0044689 | 15.6204 | 0.0012877 | 3.4912 | 23.4004 | 13.3376 | 30 | 60.9869 | 25.1526 | 117.5934 | 42.3976 | 0.0057458 | 0.0013531 | 0.0014804 | 0.0029625 | 0 | 0 | 998668.3927 | 18446.0003
9 | 0.9 | 2 | 0.0013376 | 15.6283 | 0.00034134 | 3.4925 | 23.4949 | 13.4055 | 30 | 60.9809 | 25.13 | 117.6994 | 42.219 | 0.0015614 | 0.00036191 | 0.0004558 | 0.0007953 | 0 | 0 | 998679.9938 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.0013376 | 15.6283 | 0.00034134 | 3.4925 | 23.4949 | 13.4055 | 30 | 60.9809 | 25.13 | 117.6994 | 42.219 | 0.0015614 | 0.00036191 | 0.0004558 | 0.0007953 | 0 | 0 | 998679.9938 | 18446.0003
10 | 1 | 2 | 0.00038533 | 15.6309 | 8.9116e-05 | 3.493 | 23.5296 | 13.4301 | 30 | 60.9785 | 25.1239 | 117.7386 | 42.1557 | 0.00041469 | 9.5022e-05 | 0.00013413 | 0.00020852 | 0 | 0 | 998682.9796 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.00038533 | 15.6309 | 8.9116e-05 | 3.493 | 23.5296 | 13.4301 | 30 | 60.9785 | 25.1239 | 117.7386 | 42.1557 | 0.00041469 | 9.5022e-05 | 0.00013413 | 0.00020852 | 0 | 0 | 998682.9796 | 18446.0003
11 | 1.1 | 2 | 0.00011165 | 15.6317 | 2.3495e-05 | 3.4932 | 23.5418 | 13.4386 | 30 | 60.9775 | 25.1223 | 117.7525 | 42.134 | 0.00011194 | 2.542e-05 | 3.9406e-05 | 5.5557e-05 | 0 | 0 | 998683.7187 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 0.00011165 | 15.6317 | 2.3495e-05 | 3.4932 | 23.5418 | 13.4386 | 30 | 60.9775 | 25.1223 | 117.7525 | 42.134 | 0.00011194 | 2.542e-05 | 3.9406e-05 | 5.5557e-05 | 0 | 0 | 998683.7187 | 18446.0003
12 | 1.2 | 2 | 3.1965e-05 | 15.632 | 6.3573e-06 | 3.4932 | 23.5461 | 13.4416 | 30 | 60.9772 | 25.1219 | 117.7575 | 42.1265 | 3.0484e-05 | 6.7913e-06 | 1.1648e-05 | 1.4962e-05 | 0 | 0 | 998683.9044 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.1965e-05 | 15.632 | 6.3573e-06 | 3.4932 | 23.5461 | 13.4416 | 30 | 60.9772 | 25.1219 | 117.7575 | 42.1265 | 3.0484e-05 | 6.7913e-06 | 1.1648e-05 | 1.4962e-05 | 0 | 0 | 998683.9044 | 18446.0003
13 | 1.3 | 2 | 8.8309e-06 | 15.6321 | 1.5395e-06 | 3.4932 | 23.5476 | 13.4426 | 30 | 60.9771 | 25.1218 | 117.7592 | 42.1238 | 7.7624e-06 | 1.6317e-06 | 3.4308e-06 | 3.7541e-06 | 0 | 0 | 998683.9537 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.8309e-06 | 15.6321 | 1.5395e-06 | 3.4932 | 23.5476 | 13.4426 | 30 | 60.9771 | 25.1218 | 117.7592 | 42.1238 | 7.7624e-06 | 1.6317e-06 | 3.4308e-06 | 3.7541e-06 | 0 | 0 | 998683.9537 | 18446.0003
14 | 1.4 | 2 | 2.6954e-06 | 15.6321 | 5.049e-07 | 3.4932 | 23.5481 | 13.443 | 30 | 60.977 | 25.1218 | 117.7598 | 42.123 | 2.375e-06 | 5.4561e-07 | 9.5606e-07 | 1.1394e-06 | 0 | 0 | 998683.9643 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.6954e-06 | 15.6321 | 5.049e-07 | 3.4932 | 23.5481 | 13.443 | 30 | 60.977 | 25.1218 | 117.7598 | 42.123 | 2.375e-06 | 5.4561e-07 | 9.5606e-07 | 1.1394e-06 | 0 | 0 | 998683.9643 | 18446.0003
15 | 1.5 | 2 | 1.0899e-06 | 15.6321 | 2.6693e-07 | 3.4932 | 23.5483 | 13.4431 | 30 | 60.977 | 25.1218 | 117.76 | 42.1227 | 1.0867e-06 | 4.2893e-07 | -1.1614e-07 | 5.1753e-07 | 0 | 0 | 998683.9665 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0899e-06 | 15.6321 | 2.6693e-07 | 3.4932 | 23.5483 | 13.4431 | 30 | 60.977 | 25.1218 | 117.76 | 42.1227 | 1.0867e-06 | 4.2893e-07 | -1.1614e-07 | 5.1753e-07 | 0 | 0 | 998683.9665 | 18446.0003
16 | 1.6 | 2 | 4.0895e-07 | 15.6321 | 9.3655e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7601 | 42.1225 | 4.2296e-07 | 3.3318e-07 | -5.2558e-07 | 1.8095e-07 | 0 | 0 | 998683.968 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.0895e-07 | 15.6321 | 9.3655e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7601 | 42.1225 | 4.2296e-07 | 3.3318e-07 | -5.2558e-07 | 1.8095e-07 | 0 | 0 | 998683.968 | 18446.0003
17 | 1.7 | 2 | 3.9618e-08 | 15.6321 | -1.2002e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7601 | 42.1225 | 3.6718e-08 | 2.2627e-07 | -4.9901e-07 | -8.7213e-09 | 0 | 0 | 998683.9688 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.9618e-08 | 15.6321 | -1.2002e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7601 | 42.1225 | 3.6718e-08 | 2.2627e-07 | -4.9901e-07 | -8.7213e-09 | 0 | 0 | 998683.9688 | 18446.0003
18 | 1.8 | 2 | -5.9434e-08 | 15.6321 | -3.0377e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.7129e-08 | 1.3674e-07 | -3.6215e-07 | -5.0481e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -5.9434e-08 | 15.6321 | -3.0377e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.7129e-08 | 1.3674e-07 | -3.6215e-07 | -5.0481e-08 | 0 | 0 | 998683.969 | 18446.0003
19 | 1.9 | 2 | -1.0356e-07 | 15.6321 | -3.2277e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1456e-07 | 6.1994e-08 | -2.3517e-07 | -6.4668e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.0356e-07 | 15.6321 | -3.2277e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1456e-07 | 6.1994e-08 | -2.3517e-07 | -6.4668e-08 | 0 | 0 | 998683.969 | 18446.0003
20 | 2 | 2 | -1.4768e-07 | 15.6321 | -3.4177e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.62e-07 | -1.2757e-08 | -1.0818e-07 | -7.8854e-08 | 0 | 0 | 998683.9691 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.4768e-07 | 15.6321 | -3.4177e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.62e-07 | -1.2757e-08 | -1.0818e-07 | -7.8854e-08 | 0 | 0 | 998683.9691 | 18446.0003
21 | 2.1 | 2 | -1.8121e-07 | 15.6321 | -3.4583e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.9901e-07 | -8.0612e-08 | 1.0511e-08 | -8.8498e-08 | 0 | 0 | 998683.9691 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.8121e-07 | 15.6321 | -3.4583e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.9901e-07 | -8.0612e-08 | 1.0511e-08 | -8.8498e-08 | 0 | 0 | 998683.9691 | 18446.0003
22 | 2.2 | 2 | -1.29e-07 | 15.6321 | -2.2895e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.5168e-07 | -9.2674e-08 | 6.2066e-08 | -6.1393e-08 | 0 | 0 | 998683.969 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -1.29e-07 | 15.6321 | -2.2895e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1224 | -1.5168e-07 | -9.2674e-08 | 6.2066e-08 | -6.1393e-08 | 0 | 0 | 998683.969 | 18446.0003
23 | 2.3 | 2 | -7.678e-08 | 15.6321 | -1.1206e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.0434e-07 | -1.0474e-07 | 1.1362e-07 | -3.4288e-08 | 0 | 0 | 998683.9689 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -7.678e-08 | 15.6321 | -1.1206e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.0434e-07 | -1.0474e-07 | 1.1362e-07 | -3.4288e-08 | 0 | 0 | 998683.9689 | 18446.0003
24 | 2.4 | 2 | -2.4564e-08 | 15.6321 | 4.8225e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.7007e-08 | -1.168e-07 | 1.6518e-07 | -7.1828e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | -2.4564e-08 | 15.6321 | 4.8225e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.7007e-08 | -1.168e-07 | 1.6518e-07 | -7.1828e-09 | 0 | 0 | 998683.9687 | 18446.0003
25 | 2.5 | 2 | 4.4596e-09 | 15.6321 | 8.96e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -2.3438e-08 | -1.1946e-07 | 2.0353e-07 | 8.2549e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.4596e-09 | 15.6321 | 8.96e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -2.3438e-08 | -1.1946e-07 | 2.0353e-07 | 8.2549e-09 | 0 | 0 | 998683.9687 | 18446.0003
26 | 2.6 | 2 | 7.7228e-09 | 15.6321 | 1.3872e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.1588e-09 | -1.1169e-07 | 2.2721e-07 | 1.0733e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.7228e-09 | 15.6321 | 1.3872e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.1588e-09 | -1.1169e-07 | 2.2721e-07 | 1.0733e-08 | 0 | 0 | 998683.9687 | 18446.0003
27 | 2.7 | 2 | 1.0986e-08 | 15.6321 | 1.8784e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.3121e-08 | -1.0391e-07 | 2.509e-07 | 1.3212e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0986e-08 | 15.6321 | 1.8784e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.3121e-08 | -1.0391e-07 | 2.509e-07 | 1.3212e-08 | 0 | 0 | 998683.9687 | 18446.0003
28 | 2.8 | 2 | 1.4249e-08 | 15.6321 | 2.3695e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.14e-08 | -9.6135e-08 | 2.7459e-07 | 1.5691e-08 | 0 | 0 | 998683.9686 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4249e-08 | 15.6321 | 2.3695e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.14e-08 | -9.6135e-08 | 2.7459e-07 | 1.5691e-08 | 0 | 0 | 998683.9686 | 18446.0003
29 | 2.9 | 2 | 1.4595e-08 | 15.6321 | 2.323e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.2202e-08 | -9.3632e-08 | 2.7203e-07 | 1.5494e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4595e-08 | 15.6321 | 2.323e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.2202e-08 | -9.3632e-08 | 2.7203e-07 | 1.5494e-08 | 0 | 0 | 998683.9687 | 18446.0003
30 | 3 | 2 | 1.4375e-08 | 15.6321 | 2.1721e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.9614e-08 | -9.2151e-08 | 2.6438e-07 | 1.4779e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4375e-08 | 15.6321 | 2.1721e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.9614e-08 | -9.2151e-08 | 2.6438e-07 | 1.4779e-08 | 0 | 0 | 998683.9687 | 18446.0003
31 | 3.1 | 2 | 1.4155e-08 | 15.6321 | 2.0212e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.7025e-08 | -9.0671e-08 | 2.5673e-07 | 1.4063e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4155e-08 | 15.6321 | 2.0212e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.7025e-08 | -9.0671e-08 | 2.5673e-07 | 1.4063e-08 | 0 | 0 | 998683.9687 | 18446.0003
32 | 3.2 | 2 | 1.3935e-08 | 15.6321 | 1.8704e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.4437e-08 | -8.919e-08 | 2.4907e-07 | 1.3348e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3935e-08 | 15.6321 | 1.8704e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.4437e-08 | -8.919e-08 | 2.4907e-07 | 1.3348e-08 | 0 | 0 | 998683.9687 | 18446.0003
33 | 3.3 | 2 | 1.3715e-08 | 15.6321 | 1.7195e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.1849e-08 | -8.771e-08 | 2.4142e-07 | 1.2632e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3715e-08 | 15.6321 | 1.7195e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.1849e-08 | -8.771e-08 | 2.4142e-07 | 1.2632e-08 | 0 | 0 | 998683.9687 | 18446.0003
34 | 3.4 | 2 | 1.3495e-08 | 15.6321 | 1.5687e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.9261e-08 | -8.623e-08 | 2.3377e-07 | 1.1917e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3495e-08 | 15.6321 | 1.5687e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.9261e-08 | -8.623e-08 | 2.3377e-07 | 1.1917e-08 | 0 | 0 | 998683.9687 | 18446.0003
35 | 3.5 | 2 | 1.3275e-08 | 15.6321 | 1.4178e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.6673e-08 | -8.4749e-08 | 2.2612e-07 | 1.1201e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3275e-08 | 15.6321 | 1.4178e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.6673e-08 | -8.4749e-08 | 2.2612e-07 | 1.1201e-08 | 0 | 0 | 998683.9687 | 18446.0003
36 | 3.6 | 2 | 1.3055e-08 | 15.6321 | 1.2669e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.4084e-08 | -8.3269e-08 | 2.1847e-07 | 1.0486e-08 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3055e-08 | 15.6321 | 1.2669e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.4084e-08 | -8.3269e-08 | 2.1847e-07 | 1.0486e-08 | 0 | 0 | 998683.9687 | 18446.0003
37 | 3.7 | 2 | 1.2834e-08 | 15.6321 | 1.1161e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.1496e-08 | -8.1788e-08 | 2.1082e-07 | 9.7704e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2834e-08 | 15.6321 | 1.1161e-08 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.1496e-08 | -8.1788e-08 | 2.1082e-07 | 9.7704e-09 | 0 | 0 | 998683.9687 | 18446.0003
38 | 3.8 | 2 | 1.2614e-08 | 15.6321 | 9.6523e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 8.9079e-09 | -8.0308e-08 | 2.0317e-07 | 9.055e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2614e-08 | 15.6321 | 9.6523e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 8.9079e-09 | -8.0308e-08 | 2.0317e-07 | 9.055e-09 | 0 | 0 | 998683.9687 | 18446.0003
39 | 3.9 | 2 | 1.2394e-08 | 15.6321 | 8.1437e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.3197e-09 | -7.8828e-08 | 1.9552e-07 | 8.3395e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2394e-08 | 15.6321 | 8.1437e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.3197e-09 | -7.8828e-08 | 1.9552e-07 | 8.3395e-09 | 0 | 0 | 998683.9687 | 18446.0003
40 | 4 | 2 | 1.2174e-08 | 15.6321 | 6.6351e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.7315e-09 | -7.7347e-08 | 1.8787e-07 | 7.6241e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2174e-08 | 15.6321 | 6.6351e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.7315e-09 | -7.7347e-08 | 1.8787e-07 | 7.6241e-09 | 0 | 0 | 998683.9687 | 18446.0003
41 | 4.1 | 2 | 1.1954e-08 | 15.6321 | 5.1266e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.1433e-09 | -7.5867e-08 | 1.8022e-07 | 6.9086e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1954e-08 | 15.6321 | 5.1266e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.1433e-09 | -7.5867e-08 | 1.8022e-07 | 6.9086e-09 | 0 | 0 | 998683.9687 | 18446.0003
42 | 4.2 | 2 | 1.1734e-08 | 15.6321 | 3.618e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4449e-09 | -7.4386e-08 | 1.7257e-07 | 6.1932e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1734e-08 | 15.6321 | 3.618e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4449e-09 | -7.4386e-08 | 1.7257e-07 | 6.1932e-09 | 0 | 0 | 998683.9687 | 18446.0003
43 | 4.3 | 2 | 1.1514e-08 | 15.6321 | 2.1094e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -4.0331e-09 | -7.2906e-08 | 1.6491e-07 | 5.4777e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1514e-08 | 15.6321 | 2.1094e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -4.0331e-09 | -7.2906e-08 | 1.6491e-07 | 5.4777e-09 | 0 | 0 | 998683.9687 | 18446.0003
44 | 4.4 | 2 | 1.1294e-08 | 15.6321 | 6.008e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.6213e-09 | -7.1425e-08 | 1.5726e-07 | 4.7622e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1294e-08 | 15.6321 | 6.008e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.6213e-09 | -7.1425e-08 | 1.5726e-07 | 4.7622e-09 | 0 | 0 | 998683.9687 | 18446.0003
45 | 4.5 | 2 | 1.1074e-08 | 15.6321 | -9.0779e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -9.2095e-09 | -6.9945e-08 | 1.4961e-07 | 4.0468e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1074e-08 | 15.6321 | -9.0779e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -9.2095e-09 | -6.9945e-08 | 1.4961e-07 | 4.0468e-09 | 0 | 0 | 998683.9687 | 18446.0003
46 | 4.6 | 2 | 1.0854e-08 | 15.6321 | -2.4164e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1798e-08 | -6.8465e-08 | 1.4196e-07 | 3.3313e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0854e-08 | 15.6321 | -2.4164e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1798e-08 | -6.8465e-08 | 1.4196e-07 | 3.3313e-09 | 0 | 0 | 998683.9687 | 18446.0003
47 | 4.7 | 2 | 1.0634e-08 | 15.6321 | -3.925e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4386e-08 | -6.6984e-08 | 1.3431e-07 | 2.6159e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0634e-08 | 15.6321 | -3.925e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4386e-08 | -6.6984e-08 | 1.3431e-07 | 2.6159e-09 | 0 | 0 | 998683.9687 | 18446.0003
48 | 4.8 | 2 | 1.0414e-08 | 15.6321 | -5.4336e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.6974e-08 | -6.5504e-08 | 1.2666e-07 | 1.9004e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0414e-08 | 15.6321 | -5.4336e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.6974e-08 | -6.5504e-08 | 1.2666e-07 | 1.9004e-09 | 0 | 0 | 998683.9687 | 18446.0003
49 | 4.9 | 2 | 1.0194e-08 | 15.6321 | -6.9421e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.9562e-08 | -6.4023e-08 | 1.1901e-07 | 1.185e-09 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0194e-08 | 15.6321 | -6.9421e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.9562e-08 | -6.4023e-08 | 1.1901e-07 | 1.185e-09 | 0 | 0 | 998683.9687 | 18446.0003
50 | 5 | 2 | 9.8742e-09 | 15.6321 | -7.2318e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.9612e-08 | -6.1149e-08 | 1.1207e-07 | 9.3857e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.8742e-09 | 15.6321 | -7.2318e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.9612e-08 | -6.1149e-08 | 1.1207e-07 | 9.3857e-10 | 0 | 0 | 998683.9687 | 18446.0003
51 | 5.1 | 2 | 9.5129e-09 | 15.6321 | -7.0104e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.8597e-08 | -5.7689e-08 | 1.0543e-07 | 8.8885e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.5129e-09 | 15.6321 | -7.0104e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.8597e-08 | -5.7689e-08 | 1.0543e-07 | 8.8885e-10 | 0 | 0 | 998683.9687 | 18446.0003
52 | 5.2 | 2 | 9.1516e-09 | 15.6321 | -6.7889e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.7582e-08 | -5.4229e-08 | 9.8796e-08 | 8.3913e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.1516e-09 | 15.6321 | -6.7889e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.7582e-08 | -5.4229e-08 | 9.8796e-08 | 8.3913e-10 | 0 | 0 | 998683.9687 | 18446.0003
53 | 5.3 | 2 | 8.7902e-09 | 15.6321 | -6.5675e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.6568e-08 | -5.077e-08 | 9.2158e-08 | 7.8941e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.7902e-09 | 15.6321 | -6.5675e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.6568e-08 | -5.077e-08 | 9.2158e-08 | 7.8941e-10 | 0 | 0 | 998683.9687 | 18446.0003
54 | 5.4 | 2 | 8.4289e-09 | 15.6321 | -6.3461e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.5553e-08 | -4.731e-08 | 8.552e-08 | 7.3969e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.4289e-09 | 15.6321 | -6.3461e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.5553e-08 | -4.731e-08 | 8.552e-08 | 7.3969e-10 | 0 | 0 | 998683.9687 | 18446.0003
55 | 5.5 | 2 | 8.0676e-09 | 15.6321 | -6.1246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4538e-08 | -4.3851e-08 | 7.8883e-08 | 6.8997e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.0676e-09 | 15.6321 | -6.1246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.4538e-08 | -4.3851e-08 | 7.8883e-08 | 6.8997e-10 | 0 | 0 | 998683.9687 | 18446.0003
56 | 5.6 | 2 | 7.7063e-09 | 15.6321 | -5.9032e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.3523e-08 | -4.0391e-08 | 7.2245e-08 | 6.4026e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.7063e-09 | 15.6321 | -5.9032e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.3523e-08 | -4.0391e-08 | 7.2245e-08 | 6.4026e-10 | 0 | 0 | 998683.9687 | 18446.0003
57 | 5.7 | 2 | 7.345e-09 | 15.6321 | -5.6818e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.2509e-08 | -3.6931e-08 | 6.5607e-08 | 5.9054e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.345e-09 | 15.6321 | -5.6818e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.2509e-08 | -3.6931e-08 | 6.5607e-08 | 5.9054e-10 | 0 | 0 | 998683.9687 | 18446.0003
58 | 5.8 | 2 | 6.9837e-09 | 15.6321 | -5.4603e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1494e-08 | -3.3472e-08 | 5.8969e-08 | 5.4082e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.9837e-09 | 15.6321 | -5.4603e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.1494e-08 | -3.3472e-08 | 5.8969e-08 | 5.4082e-10 | 0 | 0 | 998683.9687 | 18446.0003
59 | 5.9 | 2 | 6.6224e-09 | 15.6321 | -5.2389e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.0479e-08 | -3.0012e-08 | 5.2332e-08 | 4.911e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.6224e-09 | 15.6321 | -5.2389e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.0479e-08 | -3.0012e-08 | 5.2332e-08 | 4.911e-10 | 0 | 0 | 998683.9687 | 18446.0003
60 | 6 | 2 | 6.261e-09 | 15.6321 | -5.0175e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -9.4642e-09 | -2.6553e-08 | 4.5694e-08 | 4.4138e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.261e-09 | 15.6321 | -5.0175e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -9.4642e-09 | -2.6553e-08 | 4.5694e-08 | 4.4138e-10 | 0 | 0 | 998683.9687 | 18446.0003
61 | 6.1 | 2 | 5.8997e-09 | 15.6321 | -4.796e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -8.4494e-09 | -2.3093e-08 | 3.9056e-08 | 3.9166e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.8997e-09 | 15.6321 | -4.796e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -8.4494e-09 | -2.3093e-08 | 3.9056e-08 | 3.9166e-10 | 0 | 0 | 998683.9687 | 18446.0003
62 | 6.2 | 2 | 5.5384e-09 | 15.6321 | -4.5746e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -7.4346e-09 | -1.9633e-08 | 3.2418e-08 | 3.4194e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.5384e-09 | 15.6321 | -4.5746e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -7.4346e-09 | -1.9633e-08 | 3.2418e-08 | 3.4194e-10 | 0 | 0 | 998683.9687 | 18446.0003
63 | 6.3 | 2 | 5.1771e-09 | 15.6321 | -4.3532e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.4198e-09 | -1.6174e-08 | 2.5781e-08 | 2.9222e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.1771e-09 | 15.6321 | -4.3532e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -6.4198e-09 | -1.6174e-08 | 2.5781e-08 | 2.9222e-10 | 0 | 0 | 998683.9687 | 18446.0003
64 | 6.4 | 2 | 4.8158e-09 | 15.6321 | -4.1317e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.4051e-09 | -1.2714e-08 | 1.9143e-08 | 2.425e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.8158e-09 | 15.6321 | -4.1317e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -5.4051e-09 | -1.2714e-08 | 1.9143e-08 | 2.425e-10 | 0 | 0 | 998683.9687 | 18446.0003
65 | 6.5 | 2 | 4.4545e-09 | 15.6321 | -3.9103e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -4.3903e-09 | -9.2545e-09 | 1.2505e-08 | 1.9278e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.4545e-09 | 15.6321 | -3.9103e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -4.3903e-09 | -9.2545e-09 | 1.2505e-08 | 1.9278e-10 | 0 | 0 | 998683.9687 | 18446.0003
66 | 6.6 | 2 | 4.0932e-09 | 15.6321 | -3.6889e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -3.3755e-09 | -5.7949e-09 | 5.8675e-09 | 1.4306e-10 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.0932e-09 | 15.6321 | -3.6889e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -3.3755e-09 | -5.7949e-09 | 5.8675e-09 | 1.4306e-10 | 0 | 0 | 998683.9687 | 18446.0003
67 | 6.7 | 2 | 3.7318e-09 | 15.6321 | -3.4674e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -2.3607e-09 | -2.3353e-09 | -7.7022e-10 | 9.3344e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.7318e-09 | 15.6321 | -3.4674e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -2.3607e-09 | -2.3353e-09 | -7.7022e-10 | 9.3344e-11 | 0 | 0 | 998683.9687 | 18446.0003
68 | 6.8 | 2 | 3.3705e-09 | 15.6321 | -3.246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.3459e-09 | 1.1243e-09 | -7.408e-09 | 4.3625e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.3705e-09 | 15.6321 | -3.246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -1.3459e-09 | 1.1243e-09 | -7.408e-09 | 4.3625e-11 | 0 | 0 | 998683.9687 | 18446.0003
69 | 6.9 | 2 | 3.0092e-09 | 15.6321 | -3.0246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -3.3115e-10 | 4.5839e-09 | -1.4046e-08 | -6.0941e-12 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.0092e-09 | 15.6321 | -3.0246e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | -3.3115e-10 | 4.5839e-09 | -1.4046e-08 | -6.0941e-12 | 0 | 0 | 998683.9687 | 18446.0003
70 | 7 | 2 | 2.6479e-09 | 15.6321 | -2.8031e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.8363e-10 | 8.0435e-09 | -2.0683e-08 | -5.5813e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.6479e-09 | 15.6321 | -2.8031e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.8363e-10 | 8.0435e-09 | -2.0683e-08 | -5.5813e-11 | 0 | 0 | 998683.9687 | 18446.0003
71 | 7.1 | 2 | 2.4522e-09 | 15.6321 | -2.6637e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.2558e-09 | 9.7922e-09 | -2.378e-08 | -7.5786e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.4522e-09 | 15.6321 | -2.6637e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.2558e-09 | 9.7922e-09 | -2.378e-08 | -7.5786e-11 | 0 | 0 | 998683.9687 | 18446.0003
72 | 7.2 | 2 | 2.3807e-09 | 15.6321 | -2.5857e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.4961e-09 | 1.0259e-08 | -2.4221e-08 | -7.3462e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.3807e-09 | 15.6321 | -2.5857e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.4961e-09 | 1.0259e-08 | -2.4221e-08 | -7.3462e-11 | 0 | 0 | 998683.9687 | 18446.0003
73 | 7.3 | 2 | 2.3092e-09 | 15.6321 | -2.5077e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.7365e-09 | 1.0725e-08 | -2.4663e-08 | -7.1139e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.3092e-09 | 15.6321 | -2.5077e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.7365e-09 | 1.0725e-08 | -2.4663e-08 | -7.1139e-11 | 0 | 0 | 998683.9687 | 18446.0003
74 | 7.4 | 2 | 2.2377e-09 | 15.6321 | -2.4297e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.9768e-09 | 1.1191e-08 | -2.5104e-08 | -6.8815e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.2377e-09 | 15.6321 | -2.4297e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 1.9768e-09 | 1.1191e-08 | -2.5104e-08 | -6.8815e-11 | 0 | 0 | 998683.9687 | 18446.0003
75 | 7.5 | 2 | 2.1661e-09 | 15.6321 | -2.3517e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.2172e-09 | 1.1658e-08 | -2.5546e-08 | -6.6492e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.1661e-09 | 15.6321 | -2.3517e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.2172e-09 | 1.1658e-08 | -2.5546e-08 | -6.6492e-11 | 0 | 0 | 998683.9687 | 18446.0003
76 | 7.6 | 2 | 2.0946e-09 | 15.6321 | -2.2737e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.4575e-09 | 1.2124e-08 | -2.5987e-08 | -6.4168e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.0946e-09 | 15.6321 | -2.2737e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.4575e-09 | 1.2124e-08 | -2.5987e-08 | -6.4168e-11 | 0 | 0 | 998683.9687 | 18446.0003
77 | 7.7 | 2 | 2.0231e-09 | 15.6321 | -2.1957e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.6979e-09 | 1.259e-08 | -2.6429e-08 | -6.1845e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 2.0231e-09 | 15.6321 | -2.1957e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.6979e-09 | 1.259e-08 | -2.6429e-08 | -6.1845e-11 | 0 | 0 | 998683.9687 | 18446.0003
78 | 7.8 | 2 | 1.9515e-09 | 15.6321 | -2.1178e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.9382e-09 | 1.3057e-08 | -2.687e-08 | -5.9521e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.9515e-09 | 15.6321 | -2.1178e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 2.9382e-09 | 1.3057e-08 | -2.687e-08 | -5.9521e-11 | 0 | 0 | 998683.9687 | 18446.0003
79 | 7.9 | 2 | 1.88e-09 | 15.6321 | -2.0398e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.1786e-09 | 1.3523e-08 | -2.7312e-08 | -5.7197e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.88e-09 | 15.6321 | -2.0398e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.1786e-09 | 1.3523e-08 | -2.7312e-08 | -5.7197e-11 | 0 | 0 | 998683.9687 | 18446.0003
80 | 8 | 2 | 1.8085e-09 | 15.6321 | -1.9618e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.419e-09 | 1.3989e-08 | -2.7753e-08 | -5.4874e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.8085e-09 | 15.6321 | -1.9618e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.419e-09 | 1.3989e-08 | -2.7753e-08 | -5.4874e-11 | 0 | 0 | 998683.9687 | 18446.0003
81 | 8.1 | 2 | 1.737e-09 | 15.6321 | -1.8838e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.6593e-09 | 1.4456e-08 | -2.8195e-08 | -5.255e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.737e-09 | 15.6321 | -1.8838e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.6593e-09 | 1.4456e-08 | -2.8195e-08 | -5.255e-11 | 0 | 0 | 998683.9687 | 18446.0003
82 | 8.2 | 2 | 1.6654e-09 | 15.6321 | -1.8058e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.8997e-09 | 1.4922e-08 | -2.8636e-08 | -5.0227e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.6654e-09 | 15.6321 | -1.8058e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 3.8997e-09 | 1.4922e-08 | -2.8636e-08 | -5.0227e-11 | 0 | 0 | 998683.9687 | 18446.0003
83 | 8.3 | 2 | 1.5939e-09 | 15.6321 | -1.7278e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.14e-09 | 1.5388e-08 | -2.9078e-08 | -4.7903e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.5939e-09 | 15.6321 | -1.7278e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.14e-09 | 1.5388e-08 | -2.9078e-08 | -4.7903e-11 | 0 | 0 | 998683.9687 | 18446.0003
84 | 8.4 | 2 | 1.5224e-09 | 15.6321 | -1.6498e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.3804e-09 | 1.5855e-08 | -2.9519e-08 | -4.558e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.5224e-09 | 15.6321 | -1.6498e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.3804e-09 | 1.5855e-08 | -2.9519e-08 | -4.558e-11 | 0 | 0 | 998683.9687 | 18446.0003
85 | 8.5 | 2 | 1.4509e-09 | 15.6321 | -1.5718e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.6207e-09 | 1.6321e-08 | -2.9961e-08 | -4.3256e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.4509e-09 | 15.6321 | -1.5718e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.6207e-09 | 1.6321e-08 | -2.9961e-08 | -4.3256e-11 | 0 | 0 | 998683.9687 | 18446.0003
86 | 8.6 | 2 | 1.3793e-09 | 15.6321 | -1.4938e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.8611e-09 | 1.6788e-08 | -3.0403e-08 | -4.0933e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3793e-09 | 15.6321 | -1.4938e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 4.8611e-09 | 1.6788e-08 | -3.0403e-08 | -4.0933e-11 | 0 | 0 | 998683.9687 | 18446.0003
87 | 8.7 | 2 | 1.3078e-09 | 15.6321 | -1.4159e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.1014e-09 | 1.7254e-08 | -3.0844e-08 | -3.8609e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.3078e-09 | 15.6321 | -1.4159e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.1014e-09 | 1.7254e-08 | -3.0844e-08 | -3.8609e-11 | 0 | 0 | 998683.9687 | 18446.0003
88 | 8.8 | 2 | 1.2363e-09 | 15.6321 | -1.3379e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.3418e-09 | 1.772e-08 | -3.1286e-08 | -3.6285e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.2363e-09 | 15.6321 | -1.3379e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.3418e-09 | 1.772e-08 | -3.1286e-08 | -3.6285e-11 | 0 | 0 | 998683.9687 | 18446.0003
89 | 8.9 | 2 | 1.1648e-09 | 15.6321 | -1.2599e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.5821e-09 | 1.8187e-08 | -3.1727e-08 | -3.3962e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.1648e-09 | 15.6321 | -1.2599e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.5821e-09 | 1.8187e-08 | -3.1727e-08 | -3.3962e-11 | 0 | 0 | 998683.9687 | 18446.0003
90 | 9 | 2 | 1.0932e-09 | 15.6321 | -1.1819e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.8225e-09 | 1.8653e-08 | -3.2169e-08 | -3.1638e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0932e-09 | 15.6321 | -1.1819e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 5.8225e-09 | 1.8653e-08 | -3.2169e-08 | -3.1638e-11 | 0 | 0 | 998683.9687 | 18446.0003
91 | 9.1 | 2 | 1.0217e-09 | 15.6321 | -1.1039e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.0629e-09 | 1.9119e-08 | -3.261e-08 | -2.9315e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 1.0217e-09 | 15.6321 | -1.1039e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.0629e-09 | 1.9119e-08 | -3.261e-08 | -2.9315e-11 | 0 | 0 | 998683.9687 | 18446.0003
92 | 9.2 | 2 | 9.5019e-10 | 15.6321 | -1.0259e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.3032e-09 | 1.9586e-08 | -3.3052e-08 | -2.6991e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 9.5019e-10 | 15.6321 | -1.0259e-09 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.3032e-09 | 1.9586e-08 | -3.3052e-08 | -2.6991e-11 | 0 | 0 | 998683.9687 | 18446.0003
93 | 9.3 | 2 | 8.7866e-10 | 15.6321 | -9.4792e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.5436e-09 | 2.0052e-08 | -3.3493e-08 | -2.4668e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.7866e-10 | 15.6321 | -9.4792e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.5436e-09 | 2.0052e-08 | -3.3493e-08 | -2.4668e-11 | 0 | 0 | 998683.9687 | 18446.0003
94 | 9.4 | 2 | 8.0714e-10 | 15.6321 | -8.6993e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.7839e-09 | 2.0518e-08 | -3.3935e-08 | -2.2344e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 8.0714e-10 | 15.6321 | -8.6993e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 6.7839e-09 | 2.0518e-08 | -3.3935e-08 | -2.2344e-11 | 0 | 0 | 998683.9687 | 18446.0003
95 | 9.5 | 2 | 7.3561e-10 | 15.6321 | -7.9195e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.0243e-09 | 2.0985e-08 | -3.4376e-08 | -2.002e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 7.3561e-10 | 15.6321 | -7.9195e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.0243e-09 | 2.0985e-08 | -3.4376e-08 | -2.002e-11 | 0 | 0 | 998683.9687 | 18446.0003
96 | 9.6 | 2 | 6.6409e-10 | 15.6321 | -7.1396e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.2646e-09 | 2.1451e-08 | -3.4818e-08 | -1.7697e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 6.6409e-10 | 15.6321 | -7.1396e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.2646e-09 | 2.1451e-08 | -3.4818e-08 | -1.7697e-11 | 0 | 0 | 998683.9687 | 18446.0003
97 | 9.7 | 2 | 5.9256e-10 | 15.6321 | -6.3597e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.505e-09 | 2.1917e-08 | -3.5259e-08 | -1.5373e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.9256e-10 | 15.6321 | -6.3597e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.505e-09 | 2.1917e-08 | -3.5259e-08 | -1.5373e-11 | 0 | 0 | 998683.9687 | 18446.0003
98 | 9.8 | 2 | 5.2103e-10 | 15.6321 | -5.5798e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.7453e-09 | 2.2384e-08 | -3.5701e-08 | -1.305e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 5.2103e-10 | 15.6321 | -5.5798e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.7453e-09 | 2.2384e-08 | -3.5701e-08 | -1.305e-11 | 0 | 0 | 998683.9687 | 18446.0003
99 | 9.9 | 2 | 4.4951e-10 | 15.6321 | -4.7999e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.9857e-09 | 2.285e-08 | -3.6142e-08 | -1.0726e-11 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 4.4951e-10 | 15.6321 | -4.7999e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 7.9857e-09 | 2.285e-08 | -3.6142e-08 | -1.0726e-11 | 0 | 0 | 998683.9687 | 18446.0003
100 | 10 | 2 | 3.7798e-10 | 15.6321 | -4.02e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 8.226e-09 | 2.3316e-08 | -3.6584e-08 | -8.4026e-12 | 0 | 0 | 998683.9687 | 18446.0003 | 0 | 0 | 16 | 0 | 3.6 | 30 | 20 | 30 | 60 | 25 | 125 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 998683.9687 | 18446 | 2 | 3.7798e-10 | 15.6321 | -4.02e-10 | 3.4932 | 23.5484 | 13.4432 | 30 | 60.977 | 25.1218 | 117.7602 | 42.1225 | 8.226e-09 | 2.3316e-08 | -3.6584e-08 | -8.4026e-12 | 0 | 0 | 998683.9687 | 18446.0003